DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 8

SCHEDULE OF WORK
Name of work :
M/s Office building at Vikas Minar.




SH: Comprehensive Maintenance of Lifts)
	S.NO.
	DESCRIPTION OF ITEM
	QTY.
	UNIT
	RATE
	AMOUNT

	1.
	Comprehensive maintenance of Kone make 13 passengers automatic elevator speed 1.5 mtrs. per second serving from ground floor to 21st floor i.e. 22 opening i/c repairing, supply and replacement of parts etc. complete as per additional terms and conditions attached   (Lift No. 1,2,3)
	3 lifts for

 12 months
	Per lift per month


	
	

	2.
	Comprehensive maintenance of Kone make 16 passenger automatic elevator speed 2.5 mtrs. per second serving from ground floor to 20th floor i.e. 31 opening i/c repairing, supply and replacement of parts etc. complete as per additional terms and conditions attached   (Lift No. 4,5,6)
	3 lifts for 12 month
	Per lift

per month
	
	

	3.
	Comprehensive maintenance of Kone make goods cum passenger lift No. 7 automatic elevator speed 2.5 mtrs. per second serving from basement to 20th floor i.e. 22 opening i/c repairing, supply and replacement of parts etc. complete as per additional terms and conditions attached                          
	1 lift for 

12 months
	Per lift per month
	
	

	
	
	
	
	
	


TERMS & CONDITIONS 

	1.
	The firm shall depute trained technical person directly employed or supervised by them, the technical person shall be qualified to keep the equipment properly adjusted and shall be responsible to maintain the elevator equipments in proper condition, examine, adjust and lubricates the elevator component as required.     

	2.
	The agency will take all reasonable care and precaution in seeing that the elevators are Safe for use and are in good operating condition.

	3.
	The agency during normal working hours shall send at regular intervals 
and or frequently but at least once in a month, a technician to inspect, 
adjust and lubricate the parts of the elevator necessary to maintain the 
elevator in satisfactory working condition. The agency will supply all lubricants necessary for the purpose.

	4.
	After receiving intimation from the department regarding break down or 
failure of the elevator, the agency shall send, as soon as possible 
technician to carry out necessary repair in order to restore the elevator to satisfactory working condition.

	5.
	The firm shall submit the preventive maintenance schedule and shall carry out the work accordingly.

	6.
	In performing the services as mentioned above the firm will replace or rectify identical or equivalent item any component of the elevator rendered defective (with the approval of Engineer-in-charge) due to normal wear and tear and arising out of ordinary and reasonable use of the elevator except for such items as mentioned below:

	
	I.
	Bulbs (indicator bulbs, fluroscent tubes) and alarm bell/buzzer

	
	II.
	Incoming electrical wiring up to main switch in the machine room. 

	
	III.
	Main switches in the machine room.

	
	IV.
	The  firm will not liable to replace or repair free of cost under this contract any damage caused to all or part of the elevator as a. consequence of fire, water seepage, flooring etc.

	
	V.
	Dry cells and batteries. 


	7.
	The agency has to provide technical assistance on the behalf of the department and suggest improvement as and when required to department.

	8.
	All repair work shall to be attended during normal working hours of the normal working days with department representatives not below the rank of Junior Engineer present at the time of repair or the replacement of the required parts.

	9.
	The firm shall be clearly exhibit caution board wherever required.

	10.
	The agency shall get the license of the lift, renewed from the License Authority i.e. Electrical Inspector (lift) during the contract period. However required fee shall be borne by Department.

	11.
	The A.M.C. can be terminated at any time after giving 15 days notice.


