DELHI DEVELOPMENT AUTHORITY
ROHINI SPORTS COMPLEX

NOTICE INVITING QUOTATIONS NO. 60    /2009-10/RSC

          The Secretary, Rohini Sports Complex, DDA invites sealed quotations from Contractors, Suppliers, Manufacturers for following work. The quotations should reach in the office of the undersigned on or before 3.00 P.M. on  06.01.2010  The sealed quotations shall be opened on the same day at 3.30 P.M. in the presence of intending quotationers or their Authorized Representatives. The Schedule of quantity is as under:

Name of Work : Renovation of  Rohini Sports Complex 


SH:  Supplying  & Fixing electrical fittings  at Table Tennis  Hall  

	Sr. No.
	Description of items
	Qty.
	Unit

	1.
	Supply replacement of micro optic  based  luminaries  suitable  for ceiling / wall mounting of   2XTL5 28watt rating including  tube light  including  connection testing etc complete  as required.  
	10 Nos. 
	Each

	2.
	Supply / replacement  of electric  luminaries  (TWG 207 X TL5 -28Watt HF ) suitable  for  T5 28watt lamp  including  lamp including  connection  testing etc complete as required. 
	8 Nos.
	Each 

	3.
	Rewiring  for light  Pt./  Fan Pt./ Exhaust Fan / Call bell  Pt. / with  1.5 Sq. mm FR PVC  insulated  copper conductor   single core  cable & 1.5  Sq. mm  FR PVC  insulated copper conductor  single  core cable  as earth  wire in earthing  surface  /recessed  steel  / PVC  conduit  including dismenteling etc as required. 


	26 
	Point 

	4.
	Supply & fixing 5 Amp.  rating, 240 volts  B series  miniature  circuit breaker Suitable for lighting and other loads of following poles in the earthing MCB, DB complete  with connection  testing  & commissioning etc. as required. 

a) Single Pole 

b) TP&N  


	12 Nos. 

1 No.
	Each

Each 



	5.
	Supply   and fixing following way three pole and neutral  prewired , sheet steel  MCB distribution board  415V  on surface  / recessed  complete  with loose wire  box , terminal  block duly  pre wired with suitable  size FRPVC  insulated copper conductor up to terminal  blocks,  tinned copper bus bar, neutral link, earth bar, din bar, detachable gland plate, interconnections  phosphateized powder  painted  including  earthing  etc as required.( without  MCB / RCCB / isolator)

a) 4 way (4+12)  double door 


	1 No. 
	Each 

	6.
	Supply  fixing  of wall fan of size 400mm sweep including  connection testing  etc. complete  as required.
	6 Nos.
	Each


Contd...2

---2---

Terms & Conditions:-

1. The work shall be carried out as per specifications.

2. Work shall be carried out to the entire satisfaction of JE(Elect.)/ Secy/ RSC. 

3. The work shall be carried out in 30 days from date of issue of work order. 

4. No minor labour will be engaged.

5. No T & P shall be issued. 

6.    Nothing extra shall be paid on a/c of cartage etc.

7. 
Payment shall be made as per actual measurement.                                  

8. Validity of Quotation is 60 days from the date of opening.

9. Any damage to the building during the execution of work if any, shall be make good by the agency within the quoted rates.  

10. Electrical  luminaries shall be of Philips / Crompton Greaves / Bajaj Electricals make.

11. MCB shall be Havells / Indocopp / Montel make.

12. MCB distribution box shall be standard / Havells/ Action make.

13. Wall fan Crompton Greaves / Bajaj Electricals/ Usha  make.
14. Copper Wires shall be ISI marked. 
15. Rates are inclusive of all taxes, duties, cartage and transportation etc. and nothing

    
extra shall be paid in this regard.

16. The Agency should be registered with Trade  and Taxes  GNCT of Delhi  & supposed to furnish  a attested  copy of Tin  and clearance Certificate  on quarterly basis.

17. Debarred agency / individual will not be permitted  to participate  in the tendering process. 

18. Any individual  who has  been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf any agency  engaging a debarred person is also liable for disqualification.

19. Any conditional quotation shall be summarily rejected 





    Lt. Col. (Retd.) V.S. Negi

                                                                                 

 Secretary / RSC 

No.F4(87)/Elect/RSC/DDA/2008-09/712             
                   
Dt.-   19.12.2009
Copy to:-

1. Director (Sports)/DDA - for information please. 

2. Dy. Director (Systems) for putting on DDA web-site.

3. Sr. A. O. (Sports)/DDA. 

4. All Secretaries of the DDA Sports Complexes and The Secretary (Coordn.) with request.

5. The Secretary, DDA Contractors Welfare Association, Barrack No.1, Block – A, Vikas Kutir, New Delhi. 

6. The Secretary, DDA Contractors Welfare Association, E-18, Vikas Kutir, New Delhi. 

7. AAO/RSC./DDA

8. Manager/RSC

9. Cashier / RSC

10. JE (Civil) / JE (Elect.) / S.O.(Hort.) 

11. Guard file

12. Notice Board, RSC./DDA  



13. Computer Operator for putting on DDA web-site.



              












         






    Secretary / RSC
