DELHI DEVELOPMENT AUTHORITY
ROHINI SPORTS COMPLEX

NOTICE INVITING QUOTATIONS NO. 61    /2009-10/RSC

          The Secretary, Rohini Sports Complex, DDA invites sealed quotations from Contractors, Suppliers, Manufacturers for following work. The quotations should reach in the office of the undersigned on or before 3.00 P.M. on 06.01.2010 The sealed quotations shall be opened on the same day at 3.30 P.M. in the presence of intending quotationers or their Authorized Representatives. The Schedule of quantity is as under:

Name of work 
:  Renovation of  Rohini Sports Complex 


SH:  IEI & Supply & fixing of electrical fittings at Canteen 

	Sr. No. 
	Description  of Item 
	Qty. 
	Unit 

	1
	Wiring for light point / fans / exhaust fans/ Call Bell pt.  with 1.5 Sq. mm FR PVC  insulated  copper conductor single core cable in surface/ recessed PVC  conduit  with piano type  switch  , phenolic laminated  sheet suitable size MS box & earthing the point with 1.5 Sq. mm FR PVC  insulated  copper conductor  single core cable etc as  required - Group B 
	6 Nos.


	Each 

	2.
	Supply / replacement of micro  optics  based luminaries suitable  for wall mounting  of 2XTL5 28watt rating  including  tube lights  including  connection  testing  etc complete  as required.  
	16 Nos.
	Each

	3.
	Supply  & fixing  of recessed  mounting closed down light  luminaries  with frosted  glass  suitable  for 2 X PC – C  18 w  CFL  tube including  connection  testing  etc complete  as required. ( Model FBM- 022 XPLC /2P  18 W IC GR
	4 Nos.
	Each

	4.
	Supply & fixing  of following  CFL  tube  lights  for the  existing  electrical  fittings  including  connection testing  etc complete  as required.

a) TL 5 -28 watt

b) 18 watt – CFL
	16 Nos.

6 Nos
	Each

Each 


Terms & Conditions:-

1. The work shall be carried out as per specifications.

2. Work shall be carried out to the entire satisfaction of JE(Elect.)/ Secy/ RSC. 

3. The work shall be carried out in 30 days from date of issue of work order. 

4. No minor labour will be engaged.

5. No T & P shall be issued. 

6.    Nothing extra shall be paid on a/c of cartage etc.

7. 
Payment shall be made as per actual measurement.                                  

8. Any damage to the building during the execution of work if any, shall be make good by the agency within the quoted rates.  

9. Rates are inclusive of all taxes, duties, cartage and transportation etc. and nothing

    
extra shall be paid in this regard.

10. Copper Wires shall be ISI marked. 
11. Electrical luminaries shall be of Philips / Crompton Greaves / Bajaj Electricals make.
12. CFL  tube light shall be of Philips / Crompton Greaves / Bajaj Electricals make.

Contd..2

---2---

13. The Agency should be registered with Trade  and Taxes  GNCT of Delhi  & supposed to furnish  a attested  copy of Tin  and clearance Certificate  on quarterly basis.

14. Debarred agency / individual will not be permitted  to participate  in the tendering process. 

15. Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf any agency  engaging a debarred person is also liable for disqualification.

16. Any conditional quotation shall be summarily rejected 





    Lt. Col. (Retd.) V.S. Negi

                                                                                 

 Secretary / RSC 

No.F4(88)/Elect/RSC/DDA/2008-09/   713         
                   
Dt.-   19.12.2009
Copy to:-

1. Director (Sports)/DDA - for information please. 

2. Dy. Director (Systems) for putting on DDA web-site.

3. Sr. A. O. (Sports)/DDA. 

4. All Secretaries of the DDA Sports Complexes and The Secretary (Coordn.) with request.

5. The Secretary, DDA Contractors Welfare Association, Barrack No.1, Block – A, Vikas Kutir, New Delhi. 

6. The Secretary, DDA Contractors Welfare Association, E-18, Vikas Kutir, New Delhi. 

7. AAO/RSC./DDA

8. Manager/RSC

9. Cashier / RSC

10. JE (Civil) / JE (Elect.) / S.O.(Hort.) 

11. Guard file

12. Notice Board, RSC./DDA  



13. Computer Operator for putting on DDA web-site.



              












         






    Secretary / RSC
