DELHI DEVELOPMENT AUTHORITY
SAKET SPORTS COMPLEX
SAKET, NEW DELHI – 110017
No. F5(336)SSC/DDA/09-10/Elect./6204                                                Dated 02/12//2009
Notice inviting quotation no. 104
The Delhi Development Authority invites sealed quotations for the work mentioned herein below. The quotations should reach the office of the Secretary of Saket Sports Complex, by                  3.00 P.M. on 09/12/2009. The sealed quotations shall be opened on the same day at 3.30 P. M. in the office of the Secretary of the Complex. The quotationers or their authorized representatives may be present at the time of the opening of the sealed quotations.
Name of work:- Up-gradation/Renovation of Saket Sports Complex
                 SH. :- Electrical up-gradation in Aerobic Hall at Saket Sports Complex.
	Sl.
	Description  of item
	Qty
	Unit
	Rate
	Amount

	1.
	Wiring for light point/ fan point/ exhaust point/ call bell point with 1.5 sq mm FR PVC insulated Copper Conductor single core cable in surface / recessed PVC conduit with moduler switch, module plate suitable size G.I. Box and earthing the point with 1.5 sq mm FR PVC insulated copper conductor single core cable etc as required.                    Group ‘C’
	38 Point
	Point
	
	

	2.
	Wiring for Circuit/ Submain wiring along with earth wire with the following size of PVC insulated copper conductor single core cable in surface/ recess PVC conduit as required.                                                                                  (a) 2 x 1.5 +1 x 1.5 mm   earth wire
	50 Mtr.
	Meter
	
	

	
	(b) 2 x 4 + 1 x 4 mm        earth wire
	80 Mtr.
	Meter
	
	

	
	(c) 2 x 6 + 1 x 6 sq mm   earth wire
	65 Mtr.
	Meter
	
	

	3.
	Supply and fixing following size/ module G.I. Box along with moduler bare plate and switch box excluding switch in recess etc as required. (a) 4 module (125 mm x 75 mm)
	6 Nos.
	Each
	
	

	4.
	Supply and fixing following module switch / socket on the existing moduler plate and switch box including connection but excluding moduler plate etc as required.                                        (a) 5/6 Amps Switch
	6 Nos.
	Each
	
	

	
	(b) 5/6 Amps Socket
	6 Nos.
	Each
	
	

	
	(c) 15/16 Amps Switch
	6 Nos.
	Each
	
	

	
	(d) 15/16 Amps Socket
	6 Nos.
	Each
	
	

	5.
	Supply and fixing stepped type electronic fan regulator on the existing moduler plate switch box including b connection but excluding moduler plate etc. as required.
	4 Nos.
	Each
	
	

	6.
	Supply and fixing moduler blanking plate on the existing moduler plate and switch box excluding moduler plate as required.
	5 Nos.
	Each
	
	

	7.
	Supply and fixing following way, three pole and neutral, prewired, sheet steel MCB Distribution board 415 volts on surface/ recess complete with loose wire box, terminal block, duly wind with suitable size FR PVC insulated Copper Conductor  up to terminal block, tinned copper busbar, neutral link, earth bar din bar, detachable gland plate, inter connections, Phosphelized and power pointed including earthing etc as required (But without MCB/ RCCB/ Isolator).                                                                                 (a) 8 way (4+24) Double Door  
	1 Nos.
	Each
	
	


Contd. Page ‘2’

Page ‘2’

	Sl.
	Description  of item
	Qty
	Unit
	Rate
	Amount

	8.
	Supply and fixing 5 amps to 32 amps  rating 240 volts ‘C’ Series miniature Circuit Breaker suitable for inductive load of following poles in the existing MCB DB Complete  with connection testing and commissioning etc as required.              (a) 100 Amps
	20 Nos.
	Each
	
	

	9.
	Supply and fixing following rating four pole 415 volts isolator in the existing MCB DB complete with connection testing and commissioning etc as required. (a) 100 Amps
	2 Nos.
	Each
	
	

	10.
	Supply and fixing 20 amps 240 volts SPN industrial type socket outlet, with 2 pole and earth, metal enclosed plugh top alognwith 20 amps ‘C’ Series SP MCB in sheet steel enclosure on surface or in recess with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc as required.
	4 Nos.
	Each
	
	

	11.
	Supply and fixing following size of PVC conduit alog with accessories in surface/ Recess including colting the wall and marking good the same in case of recess conduit as required. (a) 25 mm
	60 Mtr.
	Meter
	
	

	12.
	Supply of one number PVC insulated PVC sheathed aluminum conductor armed cable 1.1 KV grade XLPE lower cable size 4x50 sq mm testing etc complete as required.
	35 Mtr.
	Meter
	
	

	13.
	Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring / cable as required.
	35 Mtr.
	Meter
	
	

	14.
	Laying of one number PVC insulated and PVC sheathed XLPE Power Cable of 1.1 KV grade of size exceeding 25 sq mm but not exceeding 120 sq mm direct in ground including excavation, sand coushning, protective covering and refilling the trench etc as required.
	30 Mtr.
	Meter
	
	

	15.
	Laying and fixing one number PVC insulated and PVC sheathed IXLPE Power aluminum conductor cable of 1.1 kv grade of size exceeding 25 sq mm but not exceeding 120 sq mm on surface as required.
	5 Mtr.
	Meter
	
	

	16.
	Dismantling of old electrical fitting such as tube fittings fans, exhaust fans, MCB, Distribution board, switches, switch board, recess fittings MCB, etc complete as required. 
	1 Job
	Job
	
	

	17.
	Supply and installation Para comfort recess mounted direct/ indirect  luminaire with colored wiring suitable for 2x36 watt CFL Powder cocked CRCA sheet housing with mirror optic cover and prismatic decorative cover with 5 twin perforated concave cover for direct in direct lighting connection, testing etc complete as required.
	14 Nos.
	Each
	
	

	18.
	Supply and installation 1200 mm Sweep cealing forMax Power Input watts 80, Rated speed 380 rpm, Max Air delivery 210 Co mtr Per minute, double ball bearing, suitable size clamp, 3’ down lod connection, testing etc complete as required.
	4 Nos.
	Each
	
	

	19.
	Supply and replacement of 250 mm sweep fresh cur fan with looser Max Power input 40 watt, Balld speed 1100 rpm, Max Airdelevers 15 Co mtr Per Minute Connection, testing, commissioning etc complete as required.
	3 Nos.
	Each
	
	


Contd. Page ‘3’

Page ‘3’

	Sl.
	Description  of item
	Qty
	Unit
	Rate
	Amount

	20.
	Supply and fixing following way three pole and neutral prewired sheet steal MCB Distribution Board, 414 volt on surface/ recessed complete with loose wire box terminal block, duly prewired with suitable size FR PVC insulated copper conductor upto terminal block tinned with busbar, netural link earth bar din bar, detachable gland plate, interconnection Phospozided and Powder Pointed including earthing etc. as required. (But without MCB/ RCCB/ Isolator /                                                                                            (a) 4 way (4 Piz), double door. 
	1 No.
	Each
	
	


TERMS & CONDITIONS: -
1.    Nothing extra shall be paid on a/c of octroi, cartage etc.

2.
The validity of the quotation is 60 days from the date of opening of the sealed quotations.
   

3. No T & P shall be issued through departmentally.   

4. The work shall be completed within 10 days from the date of issue of the work order.

5. Necessary statutory deductions will be made as applicable.

6. Debarred agency/ or individual shall not be permitted to participate in the tendering    process.
7. Any individual who has been debarred is not permitted to take part in any negotiations   or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.
8.  The experience of agencies should be taken into account rather than individuals incorporated with the agencies, which does not include proprietorship.      
9. No waste/malba of any sort will be left at the work site/anywhere within the Perimeter fencing of the complex.
10.  The contractor will be fully responsible during execution of work. If any damage do at site surrounding, the   same shall be made good with in quoted rates.
11. The  quotationer  should be registered with the Department of trade & Taxes, Govt. of NCTD and suppose to furnish a copy of VAT Registration at the time of making the request for issue of NIQ or attach the same along with the quotation. In case, the quotationer is not registered with the Vat Department, then he may give an undertaking stating therein that presently the turnover has not exceeded the prescribed limit under VAT Act. and Rules appended thereto. The quotationer should be got registered with the VAT Dept. as soon as the turnover crosses the statutory limit for registration and should supply a copy of registration with VAT Dept. within one week of its registration. It may also be undertaken that till date the quotationer has no tax due whatsoever in this account. In case of any above particulars are found to be false or not completed, the quotationer shall be liable for action by DDA.  
12. THAT for all intents and purposes the unskilled labour and suchlike personnel provided by the agency shall be the employees of the agency. The agency shall be responsible to provide all admissible and/or fringe benefits to such personnel in the same manner as the agency does to its other employees. The Delhi Development Authority shall not be responsible in any respect whatsoever for payment of any claims of the personnel provided by the agency.
13.  “If there are two or more agencies quoting the same rate preference would be given to the agency which is already serving subject to its satisfactory performance. If even then there is a tie between two or more such agencies than the work would be awarded to the agency which has the highest gross annual turnover for the last three consecutive financial years”.
14. The work shall be carried out as per CPWD specification and satisfaction of Sports- In-charge.
15. No minor should be engaged at site.

16. The quoted rate should be inclusive of all taxes/ Levies etc. and DDA would not pay/ reimburse any Tax/ Levi whatsoever.

17. The quotations received by post/ through courier shall not be entertained.
Contd. Page ‘4’

Page ‘4’

18. Aluminum Conductor armed Cable shall be Ecko, Nicco, Skytone make only.

19. Copper Conductor single core cable shall be Kalinga, National, Skytone or any other ISI Make equitant Make.

20. Recess mounted fitting shall be Model BCPA 236 TD WEB 2 Bajaj Make, Philips Make, Crompton Make only.

21. Fresh air fan, ceiling fan shall be Crompton, USHA, Bajaj, Orient make only.

22. Electrical accessories shall be Anchor Rome, Crablree, Clipsal make only.
23. All dismental material shall be return to the department.

Secretary, SSC
Copy to: -
1. Director (Sports), DDA – for information please.

2. Director System for DDA Web site. Further it is supplemented through E-mail also.

3. Sr. A. O. (Sports), DDA

4. The Secretaries, All Sports Complexes.

5. J. E. (Elect.), SSC

6. AAO (SSC)

7. The Secretary, DDA Contractor Welfare Association, Vikas Minar, I.P. Estate, ND
8. The General Secretary, Delhi Contractors Welfare Association, 306, Masjid Moth, N.D.S.E.-Part-II, New Delhi – 110049.
9. The Secretary, Builder Association, E-18, Vikas Kuteer, ND

10. Notice Board, SSC

Secretary, SSC
