DELHI  DEVELOPMENT  AUTHORITY
BABA GANG NATH SPORTS COMPLEX

Office Address :- D-2, Vasant Kunj Sports Complex

No. : F-5(49)BGNSC/2009-10/DDA/Elect./
                                                                                                                                                  Dated 07-12-2009

NOTICE INVITING QUOTATION NO.- 20
The Delhi Development Authority  invites sealed quotations from professional agencies having an experience of works, mentioned herein below. The quotations should reach the office of the Secretary of Baba Gang Nath  Sports Complex situated at Vasant Kunj Sports Complex, D-2, Vasant Kunj by 3.00 P.M. on 15/12/2009. The sealed quotations shall be opened on the same day at 3.30 P. M. in the office of the Secretary of the complex. The quotationers or their authorized representatives may be present at the time of the opening of the sealed quotations.:-

Name or work  :-  Upgradation/Renovation of Baba Gang Nath Sports Complex.

S. H.
      :-  Up-gradation of compound light at BGNSC.     
	SL.
	DESCRIPTION
	QTY.
	UNIT
	RATE
	AMOUNT

	1.
	Supply and Installation M.s. Steel tubler pole 4 mtr swaged type with M.S. Base plate 300 x 300 x 10mm with 4 nos. stiffeners in built connection box with all necessary accessories, Nipple on top, complete with antirusted coating, painting with approval colour 24’’ Nut bolt, washer, adjustment plate size (114.3 x 3.65mm) 1mtr, (889 x 3.25mm) 1.5 mt, (76.1 x 3.25mm) 1.5 mt Connection, testing etc Complete as reqd.
	13 nos.
	Each
	
	

	2.
	Supply and drowing copper conductor single core wire size 1.5 sq mm from fitting to connection box connection, testing etc complete as reqd. 
	110 mtr.
	Mtr.
	
	

	3.
	Supply and replacement integral  etc post top lantern with ABS plastic spigot, aluminum canopy, clear acrylic diffuser. Suitable for 2x18 wall etc complete with 2 nos 18 watt CFE, Choke connection testing etc. Complete as reqd.
	13 nos.
	Each
	
	

	4
	Erection of Metallic street light pole of length exceeding 4.5 mtr but not exceeding 6.5mtr in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 grade stone aggregate 40mm nominal size) foundation with cement concrete colour of size 0.4m dia x 0.5m light to accommodate the loading type cable and box including excavation and refilling etc as reqd. (Page no. 21, code No. ERMS CC6H)
	13 nos.
	Each
	
	

	5.
	Dismantling of old fittings, 3M Pole, connection box, Nipple, wire, foundation etc complete as reqd. (13 nos pole)
	1 Job.
	Job.
	
	

	6.
	Supply and replacement of 80 watt choke, lamp, 1.5 sqm copper conductor single core wire from the existing fitting on 3M heigh pole complete with all necessary petty material connection, testing etc complete as reqd.
	10 job
	Job
	
	


TERMS and CONDITIONS :

1. The work  should be carried out as per CPWD specification & satisfaction of in-charge of sports complex.

2. Nothing shall be paid extra on A/C of cartage, octroi etc.

3. That the decision of the Secretary of the Complex regarding  the quality of the works  shall be final and binding on the contractor and shall not be called in question before any Forum.

4. If the entire work  are not done within the stipulated period  from the date of receipt of the order,  the order shall automatically lapse and it shall be sole discretion of the Secretary of the Baba Gang Nath Sports Complex to allow the extension  the Secretary deems fit and proper. The decision of the Secretary in this behalf shall be final and shall not be called in question before any Forum 

5. Necessary statutory deductions will be made as applicable.

6. Debarred agency /or individual shall not be permitted to participate in the tendering process.
7. Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds  a power of attorney on the  agencies behalf. Any agency engaging debarred persons is also liable to debarring.

8. If there are two or more agencies quoting the same rate preference would be given to the agency which is already serving subject to its satisfactory performance. If even then there is a tie between two or more such agencies than the work would be awarded to the agency which has the highest gross annual turnover for the last three consecutive financial years. 

9. The quotationer should be registered with the Department of Trade & Taxes, Govt of NCTD and  suppose to furnish a copy of VAT Registration at the time of making the request  for issue of NIQ or attach the same along with the quotation. In case, the quotationer is not  registered with the VAT department, then he may give an undertaking stating therein that presently the turnover has not exceeded the prescribed limit under VAT act and Rules appended thereto. The quotationer should be got registered with the VAT department as soon as the turn over crosses the statutory limit for registration and should supply a copy of registration with VAT Dept. within one week of its registration. It may also be undertaken that till date quotationer has no tax due whatsoever in this account. In case of any above particulars are found to be false or not completed, the quotationer shall be liable for action by DDA.

10. The experience of agencies shall be taken into account rather than individuals incorporated with the agencies which does not include proprietorship. 

11. Work should be completed within 10 days.

12. No T & P shall be issued to the contractor.

13. No minor labour should be  engaged at site.

14. The contractor will be fully responsible during excavation of work if any damage done at site during excavation of work the same shall be made good free of cost with in quoted rates.

15. The validity of the quotation is 60 days from the date of opening of the sealed quotations.

16. Quotations received by post of through courier etc shall not be entertained/accepted.

17. The rates in the quotations should be inclusive of all taxes/levies and DDA will not pay/reimburse any Tax/levy whatsoever.
18. Steel tubler pole shall be as per ISO standard only.

19. Integral post top contern shall be Bajaj make BJCPTI218 clear, Philips, Crompton make or any similar superior make only.

20. All dismantle material shall be return to the deptt.
     
Lt. Col. (Retd.) N. S. Yadav

     
Secretary/BGNSC

Copy to :-
1.
Director (Sports)  
2.
Sr. A.O.(Sports) & A.A.O.(BGNSC)

3.
All Secretary of the DDA Sports Complexes i/c Secretary (Coordn.)

4.
J.E. ( Elect.), BGNSC, DDA 

5.
The Secretary, DDA Contractor Welfare Association, Vikas Kuteer, N.D.

6.
Contractor Association, A-Block, Vikas Minar, I.T.O., New Delhi.

7.
Dir. System – For DDA website – Further it is supplemented through Email also 


8.      Notice Board.

Secretary/BGNSC
