DELHI DEVELOPMENT AUTHORITY

MAJOR DHYAN CHAND SPORTS COMPLEX

ASHOK VIHAR, DELHI - 110 052.

INVITING QUOTATIONS NOTICE NO.   51     /2009-10


Sealed quotations from professional Agencies are hereby invited on behalf of Delhi Development Authority by the Secretary, MDCSC, Ashok Vihar, Delhi for the work mentioned below.  The quotations should reach in the Office of the undersigned on or before    22/12/2009 up to 3 P.M and the same shall be opened on the same day at 3.30 PM in the office of the Secretary of the Complex in the presence of quotationer or their authorized representatives.  The schedule of quantity can be obtained from Major Dhyan Chand Sports Complex Office on any working day for quoting the rates.


N.O.W. M/o MDCSC, Ashok Vihar

SH:   
 Providing & Laying of Service Cable to abandoned Pump House, LT Panel & 
  

 Repair of P/Set.
Terms & Conditions:-

1. The work shall be carried out as per CPWD specification and satisfaction of Secretary/MDCSC & JE (E).

2. All material used at site shall be got approved from Secretary /MDCSC & JE (E) before executing the work at site. 

3. Prices quoted shall be firm and inclusive of all taxes. Nothing extra shall be paid over and above the quoted rates and DDA would not pay/ reimburse any tax/levy whatsoever.
4. The payment will be made after entire satisfaction of JE (E)/Secretary/MDCSC, DDA.

5. No T & P shall be issued.

6. No advance payment will be made to the agency.

7. Nothing extra shall be paid on a/c of cartage & taxes.

8. Director (Sports) reserves the right to accept or reject any bid/quotation without assigning any season.

9. Conditional quotation will not be accepted.

10. Necessary statutory deductions as applicable will be made.

11. Debarred agency / or individual shall not be permitted to participate in the tendering process. Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf.  Any agency engaging debarred persons is also liable to debarring.

12. The experience of agencies should be taken into account rather than individules incorporated with the agency, which does not include proprietorship.
Contd..P/2..

::2::

13. The quotationer should be registered with the Department of Trade & Taxes, Govt. of NCT Delhi and supposed to furnish a copy of VAT registration at the time of making the request for issue of tender or to attach the same along with the quotation as the case may be. Quotationer/tenderer will be solely responsible for making any outstanding payment payable to the Deptt. of trade & taxes and DDA shall not be responsible.

14. The contractor shall stand guarantee for a period of 6 months for the work executed.

15. The drawing of the LT panel shall be got approved from JE (Elect.) before fabrication.    The LT panel shall have detachable gland plate & cable alley.  The inter connection shall be done suitable size of copper wire.  The two nos. of earth stud of 10 mm dia shall be provided for earth connection.  The LT panel shall be spray painted with the two coat of approved make and colour.

16. The switch gear shall be from any of make Havells, Siemens, L&T only.

17. Instrument meter shall be from any of make Havells AE’s.

18. The aluminum conductor armoured cable shall be from any make of Skyton, CCI, NICCO, Grandlay & ECKO.

19. The submersible cable shall be of finolex.

20. MCB shall be from any of make Havells, Haiger & Standard.

21. DOL starter shall be from any of make L&T, Cutler Hammer

22. No minor labour shall be employed.

23. Time allowed to carry out work is 20 days.  

24. The quotation shall remain valid for 60 days.

Wg. Cdr. (Retd.) R. Mohla

Secretary /MDCSC/DDA.

No.  F1(10)./MDCSC/ Elect./ 2009-10/DDA/494 



 Dated:  15/12/2009
Copy to:-

1. Director (Sports) DDA.

2. Director (System), DDA through E-mail ddatender@dda.org.in
3. Sr. A.O. (Sports) DDA.

4. The Secretaries, All Sports complexes with the request to display this N.I.Q. at the Notice Board of their respective complexes.

5. JE (Elect.)/ , MDCSC, DDA.

6. AAO, MDCSC, DDA.

7. Cashier, MDCSC,DDA.

8. The Secy, DDA Contractors Welfare Association Vikas Kuteer, New Delhi.

9. The Secy, DDA Contractors Association E-18 Vikas Kuteer, New Delhi.

10. Notice Board, MDCSC, DDA.

Secretary/ MDCSC/DDA.

Schedule of Works

N.O.W. M/o MDCSC, Ashok Vihar

SH:   
 Providing & Laying of Service Cable to Abandoned Pump House, LT Panel & 
  

 Repair of P/Set.

	 
	Description of Item
	Qty.
	Unit
	Rate
	Amount

	1
	Supply of 4x25 sq. mm aluminum conductor armored cable of 1.1 KV grade i/c testing etc. as required.
	110 Mtrs.
	 Mtrs.
	
	

	2
	Laying of one no. PVC /XLPE insulated and PVC sheathed at conductor armored cable of 1.1 KV grade of size not exceeding 25 sq. mm direct in ground, i/c excavation, protective covering and refilling the trench etc.  as required.
	105 Mtrs.
	Mtrs.
	
	

	3
	Providing and fixing 6 SWG dia G.I. Wire on surface or in recess for Loop earthing along with existing surface/ recess.  conduct/ cable etc. as required.
	220 Mtrs. 
	Mtrs. 
	
	

	4
	Supply installation, testing & commissioning of L.T. panel board of size 800 mm x 800 mm x200 mm compartmentalized fabricated out of 16 swg thick CRCA MS sheet duly spray painted/powder coated after apply a coat of primer, having legs mode of 40 x 40 x 5 mm of suitable length to be grouted  & supply & fixing of following electrical accessories therein including inter connection with suitable size of aluminum stip/copper wire & having detectable gland plate etc. as required. 

Accessories to be mounted therein 

a) 63 amp TP &N with HRC fuses      - 1 No.

b) DOL starter (suitable for 75 HP motor) 
                                                      – 1 No.

c) Single phase preventor                  - 1 No.

d)  Voltmeter (0-500 V) with selector switch
                                                       -  1 No.

e) Ammeter (0-30 amp.)                    - 1 No.

f) 16 amp TP MCB                             - 1 No.

g) 16 amp SP MCB                             - 3 No.

h) Indication lamp with switches       - 1 Set

  
	1 No.
	Each


	
	

	5
	Repair & rewinding of 5 HP/5 stage submersible P/set including following jobs/ducts etc. as required.

a) Rewinding of 5HP submersible motor
                                                       - I Job

b) S/R G.M bearing bush                   - 4 No.

c) Rotor sleeve turning & grinding  - 1 Job

d) Supply & replacement of thrust bearing  
                                                          -1 No.

e) Supply & replacement of thrust plate                              - 1 No.

f) Water seal                                        - 2 No.

g) ‘O’Ring                                          - 1 Set

h) Neck ring                                        - 5 No.

i) Guide bush                                     - 5 No.

j) Distance sleeve                              - 5 No.


	1 Job
	P. Job
	
	

	6
	Supply of 2.5 sqmm copper conductor flat PVC insulated & sheathed submersible cable etc. as required.


	40 Mtrs.
	Mtrs.
	
	

	7
	Lowering of submersible P/set alongwith GI pipe, submersible cable water proof joint, connection testing etc. as required.


	1 Job
	Job
	
	

	
	Total
	
	
	
	


