Delhi Development Authority

Netaji Subhash Sports Complex

Jasola, New Delhi-110025

NOTICE INVITING QUOTATION NO. 36    

No. F 2 (15) / NSSC / Civ. Works / 2009 – 10 / 1125




Date : 17 Dec. 09


The Delhi Development Authority invites sealed quotations from Professional Agencies having an experience of executed at least two similar types of works, mentioned herein below. The quotations should reach the Office of the Secretary of Netaji Subhash Sports Complex, by 3 PM on 29.12.09. The sealed quotation will be opened on the same day at 3.30 P.M. in the office of the Secretary of the Complex. The Quotationers or their authorized representatives may be present at the time of the opening of the sealed quotations.

Name of Work : - Up-gradation / renovation of Existing facilities at NSSC, Jasola. 

SH : Providing and fixing false ceiling in the Multi Gym at NSSC.  

S. N
Description of Item
Qty
Unit 
Rate 

(Rs.)
Amount 

(Rs.)

1 / 12.52
Providing & fixing false ceiling tiles of approved materials of size 595X595 mm in true in horizontal level suspended on inter locking metal grid of hot dipped galvanised steel section ( galvanized @ 170 gsm/sqm.) Consisting of main “T” runner suitably spaced at joints to get required length and of size 24X38mm made from0.30mm thick (minimum) sheet spaced at 1200mm center and cross  “T” of size 24X25mm made of 0.30mm thick (minimum) sheet, 1200mm long spaced between main”T” at 600mm center to from a grid of  1200X600 mm and secondary cross “T” of length 600mm and size 24X25mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of  the 1200X600mm panel to form of 600X600mm and laying false ceiling tiles of approved texture in the grid including , whenever, required, cutting /making, opening for services like diffusers, grills, light fittings, fixtures, smokes detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats fixed to ceiling with 6 mm dia and 50 mm long dash fasteners, 4mm GI adjustable rods with galvanised level clips spaced at 1200m center to center along main T, bottom exposed width of 24mm of all T-sections shall be pre-painted with polyester paint, all complete at all heights as per specifications drawing and as directed by Engineer – in – charge.(The rate is excluding cost of tiles which will be paid separately ).              



Sqm



2 
Providing and placing at all hights false ceiling of Arm strong make or equivalent as per specifivation and direction of Engineer in charge :

a) 14 mm  thick plane or semi perforated or with designed celing tiles of 600 X 600 mm size as approved. 

Sqm




Total





General Terms and Conditions: -

1. Work shall be carried out as per CPWD specification vol – I to VI.

2. No T & P shall be issued.

3. No minor labour shall be engaged at site.

4. Any loss / damage / theft caused during the execution of work shall be the responsibility of the agency and the Delhi Development Authority shall be entitled to recover the amount from the agency. All payments to the agency shall be made through cheque only.      
5. Validity of quotation is 60 days from the date of the opening of the sealed quotations. 
6. No extra payment shall be made on a/c of octroi, cartage etc.

7. The quoted / accepted rat
es shall be inclusive of all taxes / levies etc. and nothing extra shall be payable.
8. The work shall be completed within 15 days.
9. Necessary statutory deductions will be made as applicable.

10. The tenderer / quotationer should be registered with the Department of Trade & Taxes, Govt. of NCTD and suppose to furnish a copy of VAT registration at the time of making the request for issue of tender or to attach the same along with the quotation as the case may be. In case the quotationer / tenderer is registered with the VAT department, he may give an undertaking stating therein the registration no., date of registration, period for which return has been filed, date of filing and the demand outstanding, if any, and liable to pay the same. In case, the quotationer / tenderer is not registered with the VAT Department, then he will require to submit an undertaking in the specified Performa (available with Cashier / NSSC).
11. The Debarred agency/ or individual shall not be permitted to participate in the tendering process.

12. Any individual who has been debarred is not permitted to take part in any negotiations or represent any agency even if he holds the power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.

13. The experience of agencies will be taken into account rather than individuals incorporated with the agencies, which does not include proprietorship. 

14. No advance payment will be made to the agency.

15. The payment will be made only on completion of work and satisfaction of engineer in charge & Secretary NSSC.
16. Any lapse on the part of the agency, the Director (Sports) can take such action as he may deem appropriate and the decision of the Director (Sports) in that behalf shall be final and binding upon the quotationers / agency and shall not be called in question before any forum.

17. Any conditional quotations shall be summarily rejected.

Lt. Col (Retd) P.B. Pathak 

Secretary / NSSC / DDA

Copy to: -

1.   Dir. (System) through E-mail (dirsystem@dda.org.in)

2. PA to Director (Sports), DDA 

3. Secy. Coordn. / DDA

4. Sr. A.O. (Sports), DDA

5. The Secretary, DDA Contract Welfare’s Association, Branch No. 1, Black ‘A’ Vikas Kuteer, New Delhi.

6. The Secretary, DDA Builder’s Association, E-18 Vikas Kuteer, New Delhi.

7. The Secretaries, all sports complexes, DDA with the request to display the NIQ at Notice Board of their respective Complexes.

8. AAO / NSSC / DDA

9. JE (Civil) / NSSC / DDA

10. Cashier / NSSC

11. Guard file.

12. www.dda.org.in through E-mail (ddatender@dda.org.in.)

Secretary / NSSC / DDA

