[image: image1.jpg]v

BTN fo[E(P) S & €83/ 209-/0

y  ESTIMATE OF FIRE ALARM SYSTEM wm&ﬁuz TYPE) AT YAMUNA SPORTS COMPLEX

Name of work:- Construction of Indoor Stadium
at Yamuna Sports Complex,

SCHEDULE OF WORK - PART-1

‘able Tennis for Common wealth games - 2010)|

|(SH:- Providing & Installation of analogue addresable fire detection and fire alarm system).

[S:NO. ITEM OF WORK

QTY " UNIT

RATE .| | AMO

i
1.0 FIRE ALARM SYSTEM (ADDRESSABLE

TYPE) i

1.1 |Supply Installaion, Testing & Comissioning of
‘Fire alarm control panel fully networkable
{having microprocessor based § loop panel
{expendable upto 12 loop (minimum 120
detectors/ devices), Intelligent addressable fire,
alarm system. The panel shall have minimum §
line x 40 charactors and LED for displaying
system status, (In addition to the digital screen,
the user can view a graphics map which can,
show a complete building floor plan). The
panel  shall  provide | the user  withy
programmable  macro o function  buttons,

which can be programmed for a variety of
usages like controlling, AHU's, Pressurisation
fans, fire pumps, monitofing of flow switches
in fire pipe line etc, The penel shall have 240
V AC power supply, automatic battery charger,
24V SMF batteries sufficient for 24 hours in
standby and 5 minutes in alarm mode complete
tion. The panel shall be able to
output to the PA system. The
! card backnet for

as per spe
give 12 rel
panel shall have open protoc
3rd party integration

| 12 Supply Installation, Testing & Commissioning

ep panel with backlit, § line x
charactors and LCD displ
audiable status LED scroll buttons 1o view
ditional ¢

its own

event and

ts, local sounder and provid

technical

ncloswre  as

specifications 4

installation esting  and

on; analogue  wddressable

i photoelectric

type multi sensor dectector
base LED with

tor complete s reauiced

with st fucilin to

Nos




[image: image2.jpg]/7'1,

ESTIMATE OF. FIRE ALARM SYSTEM(ABBRESSABLE TYPE) AT YAMUNA SPORTS COMPLEX

S.NO. ITEM OF WORK QTY UNIT _ RATE AMOUNT]

14 Supplying, installation,  testing  and
commissioning of Analogue addressable
Photoelectical type smoke detector with
sounder with mounting based LED with a |
facility 10 program the detector complete as
required. The detector should be capable of
adjusting, its sensitivity as per the-change in i
the environment,

320 Nos.

L5 Supplying, installation, tesing  and
commissioning  of Analogue addressable
Photoelectical type smoke detector without
sounder with mounting based LED with a

ility 10 program the detector complete as

required. The detector should be capable of
adjusting, its sensitivity as per the change in
the envizonment.

415 Nos

L6 Supplying, installation,  testing  and

commissioning of Analogue a ble duct
ed LED with a
facility to program the detector complete as
required. The detector should be capable of
adjusting, its sensitivity as per the change in
the environment

detector with mounting ba

Supplying, installation,  testiny
commissioning of Analogue addres
of Rise Cum fixed Temperature wars
detector with mounting based LED with a
facility 1o program the detectors and its  «

sensitivity complete as required.

20 Nos

L8 Supplying, installation, testing  and
of Addressable type fuult

isolators for isolating shorted, dewired wid

commissionis

louse circuits between two successive wilt

1salons with automatic ¢ il

setting arr

0o




[image: image3.jpg]5%
8/ |

TIMATE OF FIRE ALARM SYSTEM (ADDRESSABLE TYPE} AT YAMUNA SPORTS COMPLEX

S.NO. ITEM OF WORK

QTY

UNIT RATE

AMOUNT)|

19

1.10

L1t

112

Supplying, installation, testing  and
commissioning  of  Addressable  control
modules for Hooter, AHU's Pressurizing Fans,
Lifis, Power supply ctc with independently
programmable outputs. This shall include all
accessories like power supply, relays complete
as required.

Supplying, installation, testing  and
commissioning of Addressable manual call
box s;

em complete as required.

Supplying, installation,  testing  and
commissioning of Electronic hooter at
appropriate height on wall in surface or in
recess complete as required

Supply installation, Testing & Commissioni
of Response Indicator complete as required

Supplying, installation,  testing  and
commissioning  of  addressable monitor
module having single inputs for monitoring
individual flow switches/Fire exit doors
independently etc, complete as required.

Supplying, installation,  testing  and
commissioning of addressable power alarm
sounder cum  sobe  complete  with all

accessories as requiced,

Supplying, instllation,  ftesting  and
commissioning of aspirations smoke detector

with sound absorber analogue with all pipes,

nozzles & flexible hose nec

sary accessories

complete et us required as per derailed

jons  {The  Detector  shall  be

speci

integrated with uin fire alarm syst

320

Nos

Nos

Sets

Nos




[image: image4.jpg]¥ 2

ESTIMATE OF FIRE ALARM SYSTEM (ARDRESSABLE TYPE) AT YAMUNA

~

J

SPORTS COMPLEX

SINO. ITEM OF WORK

QTY

UNIT

RATE

116 {Supplying and installation of 20mm MS
flexible pipe including end coupler complete as
required.

T

117 ‘;Supply and drawing following sizes of PVC]
Jinsulated FR copper conductors wires of 1.1

V grade single core in existing surface /|

conduit pipe including  making

connections complete s required

Irecessed

@) 2X15Sqmm

4000

i
10000 |

Mirs

Mitrs

—_TOTAL

SAY




[image: image5.jpg]Name of work: Construction of indoor stadium for Table Tennis for Common Wealth Games
2010 at Yamuna Sports Complex ( SH: Providing & installation of analogue addreesable fire
detection and fire alarm system.)

OPERATION & MAINTAINANCE - PART -1

[Description of ftems [ Q. [Rate [ Uit
Operation of fire detection & fire | One job for Job/

schedule of work including routine,
| preventive and breakdown
| maintainance for a period of 1 year
} in THREE SHIFTS of 8 hours each

alarm system as given part - [of | 12 months, ‘ Month

| per day.
TOTAL

215604

Total Amt. of Part - | = Rs.
Am of part - 1l = Rs

GRAND TOTAL = Rs




