[image: image1.jpg]\ DELHI DEVELOPMENT AUTHORITY
ELECTRICAL DIVISION NO-I

NOTICE INVITING TENDER

Sealed item rate tenders are invited for the following works by the Executive
Engineer, Electrical Division No-1/ DDA, School Block Shakarpur. Delhi-110092 upto
3.00 PM on date mentioned below on behalf of DDA from the approved contractors of
appropriate class of DDA, CPWD, P & T, MES, Railway and specialized firms who meet
the requisite conditions mentioned below The tender shall be opened on the same day at
3.30 PM at Ground Floor, Vikas Minar, LP. Estate, New Delhi in the presence of
intending tenderers or their authorized representatives.

‘The tender Documents can be had on any working day from Electrical Division
No-I, between 11.00 AM to 3.00 PM on payment of amount of tender cost ( non
refundable) mentioned against each work on production of valid registration certificate,
valid registration works contract cell sales tax department of GNCTD and tax clearance
certificate from the works contract cell of sales tax department in form XI and / or
covering below mentioned conditions. Sale of tender form will be stopped 4 days
(including date of opening) before the date fixed for opening of tenders as mentioned be
below:-

The manner of submission of tenders, opening of the same and entry of
contractors/ their representatives to the place of opening shall be as provided in clause
3 (a), (b) and (c) of PWD-6 forming part of the tender documents.

The earnest money shall be deposited at time of submission of tender
documents in the form of Bankers Cheque, pay order and demand draft of a
Scheduled Bank Guaranteed by the RB1, in favour of Sr, A.O. (CAUYEZ/ DDA or
FDR valid for a period of six months or more afier last date of receipt of tender
pledged in favour of Executive Engineer (E), Electrical Division No-1/ DDA. The
tender of contractor who does not enclose the earnest money in the prescribed manner
shall be summarily rejected.

S.No.|NIT No. Name of works Esstt, Cost t Date of sales
Eamest Money | Date of opening
Cost ol tender
Time allowed

I [NITNo. 20, M/o various shopping centre in Trans|
EE/ELD-I/AE-1I/  |Yamuna Area .
DDA/09-10 (SH: Repairing of 160 KVA DG set &
fire diesel pump in DDA Building Laxmi
i _|Nagar Distt
NIT No. 23/ M/o various scheme under NA-II/East ?
EE/ELD-VAE-II/ (Zone  (SH:  Annual ~operation &

DDA/09-10 maintenance of C/W booster p/set electric] 4%Vat
sub station, DG set & IEI of booster| Twelve months
pumping station at Chilla Dallupura)




[image: image2.jpg][ NITNo.26/EE/ [ Mo various colonies n East Zone (SH:| Rs.2.07.696- | 18.12.
ELD-VAE-II/ ARMO of C/W ooster plset, sub piset| Rs. 4154/ 22,1220,
DDA/ 09-10 alongwith DG set at 480 MIG houses|ft Sa0/-+47us .

SAe Kondli Gharoli) 7 Thelse prun7hs . ,
Visit DDA website i.e. dda.org.in or dial 39598911

n:
The annual financial tum over (Gross) in electrical. Construction works in one of the
preceding 3 financial years shall not be less than 100% of the estimated value of the
work duly audited by Chartered Accountant on annualized basis ( depending upon
the time allowed for completion i.c. total estimated value divided by time of
completion.)

2 The satisfactory completion of a Ieast 2 works of similar nature/ class each costing

ot less then 50% of the estimated cost of the proposed work during the last five

years in centrall state Govt. departments or in public scetor undertaking/ Gov
autonomous bodies.

Exec er () L1
trical Division No-l
w DDA
No, ELD-I/13(37)A/c’s/DDA/ | 4 3. Dated: J7 / 12106

Copy to:
1 Chief Engineer (E) DDA

2. AO(CAU)EZ DDA
3. AOworks-IIIlf DDA

4 S.E. (E)Circle-3/DDA

5 EE/Elect. Divn.-2 to 12/DDA
6 FO to CE (E) DDA
7

8

9

2/ WD-5, DDA Tender clerk, Vikas Minar,
AE (P) Elect. Divn-l/ DDA
Head Clerk/ Electrical Division No-I/ DDA

10. A Cashier / Elecrical Division No-1/ DDA

1. Security officer. Vikas Minar

12 Notice Board

13 DDA web site i.e. ddatender@dda.orin

14 Agreement copy.

13 The association Elect, Contractor (Regd.,) Chamber No. 103, Laxmi Complex,
B-6 Subash Chowk, Laxmi Nagar, Delhi-110092.

16 DDA Contractor Association (Regd.) E-18, Vikas Kuteer, New Delhi,

7. DDA Builders Associations (Regd.), C-29 Panchsheel Enclave, Delhi

18, Elect. Engg, & Contractors Association 2362 Maharaja Complex Main Road
Patel Nagar, Delhi-18

9. Trans Yamnna DDA Contractor Association (Regd.) 11-12 Vir Savarkar Marg,
(Budh Bazar) Gandhi Nagar, Delhi-31,
20 Delhi Contractor and Builders Assaciation (Regd.) H No, 5503 Choudhary

Prem Raj Bhavan, New Chandrawal Ch, Bhim Singhy Delhi-07,

21 Delhi Contractor Welfare Association (Regd.)261, Gali Dhratn Shala wali,
Turkman Gate, Delhi,

22. The Director (System) DDA Vikas Sadan, New Delhi,

——




[image: image3.jpg]ELECTRICAL DIVISION NO-I
DELHI DEVELOPMENT AUTHORITY

¥ SCHEDULE OF WORK

Name of work: MJo Various Shopping Centre under, s Trng yamuna Avea

(SH: Repairing of 160 KVA DG set & fire diesel pump in DDA Building Laxmi Nagar Distt. Centre )

SNo. Deseription of item Qu : Uit
1. Service / overhauling of 160 KVA DG set /c replacement

of following paris, re-commissioning & testing of the same

etc. as required.

1) Oil filter - INo.

ii) Fuel filter -1No.

iif) CR. flter -1No.

iv) Air filter -1No.

v) Hose pipe “lset

vi) Lubricating oil -1lot 1Job Tob
2. Service / overhauling of kirloskar make 100 BHP diesel

engine fire pump set ife replacement of following parts,

re-commissioning & testing of the same etc. as required.

i) Oil filter - INo.

i) Fuel filter -1No.

iif) Air filter -1No. .

iv) Lubricating oil -llot Sl Job
3. Supply & replacement of 12 volt 180 AH, 25 plate battery

for 160 KVA DG set ifc charging and acid filling with the
rebate for the old battery and testing ete. as required. 2Nos. Each




[image: image4.jpg]Supplying & replacement of switch disconnector fuse unit
after dismantling of damaged switch disconnector unit
open execution wifh three number HRC fuse i/e connection
testing ete. as required.

i) 63 Amp.

ii) 100 Amp.

iif) 400 Amp.

iv) 630 Amp.

Supplying & replacement of side handle off load change
over switch of 630 Amp. after dismantling of existing
change over switch i/c connection testing etc. as required.
Supplying & replacement of direct on line starter suitable
for 5.5 KW motor, relay range 10-15 Amp. after
dismentalling of existing motor starter i/c connection

testing etc. as required.

Refilling, testing & painting of following type fire
extinguisher etc. as required.

a) Water (CO;)Gas pressure type fire extinguisher of 9 ltr.
Capacity

b) Carbon dioxide (COz)type 4.5 kg. capacity

2Nos.

2Nos.

1No.

1 No.

1 No.

2 Nos.

32Nos.

70Nos.

Each

Each

Each

Each

Each

Each

Each

Each



[image: image5.jpg]Repairing / servicing of AMF panel connected with 160
KVA DG set i/c replacement of following defective part,
rewiring, testing and commissioning to have auto start and
change over in case failure of main supply.

a) Separate suitable connector for main & DG set with
inter locking in between.

b) Voltmeter 0-500 volt with selector switch

) Amp. meter of suitable 0-250 Amp. range with selector
switch.

d) Frequency meter

) KW meter range 0-200 KW

1) Battery charging unit with trickle boost selector switch
8) AMF relays

h) Timer

Repairing of AVR & servicing of 160 KVA altenator ifc
dismentalling of alternator cleaning, warnishing and
heating of winding = rc-assembling, testing and
commissioning ete. as required.

1Job

1Job

Job
Job

VYR, Reeshii110002



[image: image6.jpg]Reg e s Xx‘/?x/)ﬁn/a o

SCHEDULE OF WORK
‘Name of work: M/o various scheme under NA-II in Eats Zone
SH: Annual, Operation & maintenance of clear water booster p/set, electric sub station, DG set & IEI of Booster

‘pumping station at Chilla Dallupura

S No. _Description of item Qty. Rate Unit Amount
I Operation of pumps/ DG set/ sub. Station equipments as 1 job for 12 Per month
per the inventory and terms and conditions attached ‘months
3. Supplying & replacement of the following items
including testing etc. complete as required.
a) HPSV lamp 150 watt 2nos. Each
b) Electronic igniter suitable for 150 watt 220 V 3nos. Each
) Copper wound polyester filled ballast suitable for 150 2nos. Each
watt IIPSV lamp
d) Fluorescent tube 36/40 watt 20n0s. Each
©) Electronic ballast suitable for 36/40 watt fluorescent 10nos. Each
tube fitting
(zm)
e s g
Resht R snferaror

No., site for which employed and

name-of the agency with

WG, feech:110092




[image: image7.jpg]Regpprote 2 o/ EL[arerfs

SCHEDULE OF WORK

Nemeofwork:  M/o various colonies in EZ .
SH: A/R/M/O of clear water booster Pp/sets sub p/scts along with DG set at 480 MIG houses Kondli Gharoli,

SNo. Description of ftem Q- Rate Uit Amount
1. Operation of pumps / DG set as per the Inventory and terms

and conditions attached. 12months P/m
2. Supplying and replacement of the following items i

) HPMV Lamp 80 watt 3Nos. Each

b) Copper wound ,;oxymer filled ballast 80 watt 3nos. Each

b. Attendance register for staff deployed. | ]




