  DELHI DEVELOPMENT AUTHORITY

BHALSWA GOLF COURSE

NOTICE RE-INVITING QUOTATIONS NO.  28 /2009-10

Sealed quotations are hereby re-invited on behalf of Delhi Development Authority by the Secretary BGC, Bhalswa, Delhi for the work mentioned below. The quotations should reach in the Office of the undersigned on or before   30.12.09 up to 3.00 pm. and the same shall be opened on the same day at 3.30 P.M. in the Office of the Secretary of the BGC in the presence of quotationers or their authorized representatives. Schedule of Quantity may be received from BGC on any working day.
 N.O.W:- M/O Bhalswa Golf Course at Bhalswa 
 S.H:-      C/O Portable room for caddie at BGC.
	S.No.
	Description


	Qty.
	Unit

	1.
	C/o portable room size 10.35 X 5.00 meter  made of M.S. pipe & water proof 8 mm E-board /V board, it consist of hollow M.S. tabular square pipe framing 58 X 58 mm (14 G) (Detachable) & bracing with 36 X 36 mm (18 G), outer walls 8 mm thick Silica Fiber E board cover with apoxy & texture coating, T. F. thermocol/ glass / mineral wool can with sand – 20º C to + 70º C very easily inner walls laminated (both side) with fiber board walls/ 8 mm silica fiber E-board, roofing G.I. profile in sloping / Hut/ Pyramid/ Plane shape (insulated) with 8 feet height in side, False selling laminated false ceiling/ 6 mm silica fiber E- Board, Doors/ window wall finish flush doors with powder  coated aluminium  hardware & aluminium sliding windows, dismantling & resembling, lighting/ flooring, 16 mm silica fiber E. board over mild steel flame 38 X 38 mm with PVC L.G. make 1.5 mm thick, kitchen & toilet luxurious ceramic tiles in floors/ Aluminium sheet/ 1.5 mm thick vinyl with white  fixture i.c concealed GI & CI pipes of cabin, painting texture coating on outer walls/ inner walls. Ground clearance etc. complete as per direction of Secy/ BGC.         
	51.75
	sqm


Terms & Conditions:-

1. Only the specilised agencies are allowed to quote their quotations.

2. The agency should have executed the similar work during the last two years.
3. The work should be executed as per CPWD specification 1996 Vol I to VI & up to date correction slip issued. 

4. No T & P shall be issued.
5. Water should be arrange by contractor.

6. The work shall be completed in stipulation period i.e. 5 days.

7. Nothing extra paid to the agency except their quoted rates.

8. Validity of quotation is 60 days from the date of opening.

9. Conditional quotations will not be entertained.

10. Payments shall be made through cheque only.
Contd........2

-2-
11. For any lapse on the part of the agency, the decision of the Director (Sports) shall be final and binding upon the quotationers. 

12. Security deposit at the uniform rate of 10% shall be deducted from each running bill and will be refunded after completion of the specified period/ work.

13. Necessary statutory deductions will be made as applicable.
14. Work shall be completed to the satisfaction of JE (C) and Secy BGC.

15. Debarred agency/ or individual shall not be permitted to participate in the tendering   process.
16. Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.
17. That the quotationer / Contractor should be registered with the Department of Trade & 
Taxes, Govt. of 
NCTD and furnish a copy of VAT registration of the time of making the request for of Schedule of 
Qty. or attach the same along with the quotation as the case may be.

-sd-
Lt.Col.R.D.Nutiyal (Retd)










      Secretary BGC/ DDA.
File No. F3 (57) / BGC /DDA/2009/598



              Date-22.12.09
Copy to:-
1. 1.  Directors (Sports) DDA for information please.

2. Director (System), DDA Vikas Sadan, through e-mail.

3. ddatender@dda.org.in CC directorsystem@dda.org.in
4. Sr. A.O. (Sports) DDA

5. The Secretaries, all Sports Complexes with the request to display this N.I.Q. at the Notice board of their respective Complexes. 
6. The Secretary DDA Contractors Welfare Association Vikas Kuteer, New Delhi.

7. The Secretary DDA Contractors Association E- 18 Vikas Kuteer, New Delhi.

8. A.A.O BGC, DDA

9. J.E(C) BGC/, DDA 

10. Cashier, BGC/DDA
11. Notice Board BGC /DDA.



               

   -sd-









      Secretary BGC/ DDA
