-1-

DELHI DEVELOPMENT AUTHROITY

PRESS TENDER NOTICE

Press Notice/NIT No.21/SWD-2/DDA/2009-10
Sealed Item rate tenders are invited for the following work by the Executive Engineer/SWD-2, DDA, Vasant Kunj upto 3.00 PM on 23.12.2009 on behalf of DDA from the approved Contractors of appropriate class of DDA, C.P.W.D., MES, P & T & Railways which shall be opened on the same day at 3.30 PM at Ist Floor, Press Bldg., DDA Office Vikas Sadan, New Delhi in the presence of intending purchaser or their authorised representative.

The tender documents can be obtained on any working day from the CAU(SZ)/AGVC and Sale counter Vikas Sadan between 11.00 A.M. to 3.00 P.M. on payment of cost of tender (non–refundable) as well as amount of Earnest Money mentioned against each work on production of valid enlistment Certificate.  Sale of tender forms will be stopped four days (including the date of opening) before the date fixed for the opening of tender documents.

The manner of submission of Tender, opening of the same and entry of Contractor or their authorised representative,  the place of opening shall be as  provided in clause 3(a), (b) and (c) of  PWD-6 forming part of the tender documents.

The Earnest Money shall accompany the tender in the form of cash upto Rs.10,000/- (Rupees Ten Thousand) only/Receipt Treasury Challan/Deposit at call Receipt/Fixed Deposit Receipt/Demand Draft of a Scheduled Bank issued in favour  of Sr. Accounts Officer, South Zone, D.D.A., New Delhi.   ________________________________________________________________________________
S.No.
Name of Work

Estt. 

        Earnest
          Cost of 

Time




Cost
        
        Money
          Tender

allowed

1.
C/o 2304 Mega Housing Project behind D-6, Vasant Kunj.


SH: C/o Community Hall behind D-6, Vasant Kunj.



Rs.1,14,66,129/-
Rs.2,29,323/-

Rs.1,000/-
05 Months








+Vat @4%
Conditions for work 

a) The tender documents shall be issued by O/O the Executive Engineer, SWD-2, DDA, Vasant Kunj, New Delhi.
b) The tenders shall be issued to DDA as well as non-DDA, non-CPWD contractors provided they have satisfactorily completed three similar nature of works, each of value not less than 40% of the estimated cost or two works of similar nature of value not less than 80% of the estimated cost in the last 7 years ending last day of the month previous to the one in which the tenders are invited.   Note- Class 2 contractors of DDA & CPWD shall also be eligible if they satisfy the criteria specified above.
c) Similar work shall mean building work.
---------------------------------------------------------------------------------------------------------------------------------------

NOT TO BE PUBLISHED BELOW THIS LINE











                Sd/-

EXECUTIVE ENGINEER

SOUTH WESTERN DIVN.2

D.D.A., NEW DELHI

A………..

C…………

CS……….

OW………

D…………

-2-

DELHI DEVELOPMENT AUTHROITY                    PWD-6

NOTICE INVITING TENDERS

DIVISION: S.W.D.-2




              Sub-Division_____________

Sealed item rate tenders in the prescribed form are hereby invited on behalf of the Delhi Development Authority for the work:-

Name of work: C/o 2304 Mega Housing Project behind D-6, Vasant Kunj.



SH: C/o Community Hall behind D-6, Vasant Kunj.

1.    Estimated Cost: Rs.1,14,66,129/-
2.    Contract document consisting of the detailed plans complete specification, the schedule of  quantities of the various items of work to be done and a set of conditions of Contract can be seen/purchased at CAU(SZ) AGV Complex office/Sale counter Vikas Sadan between 11.00 AM  to 3.00 PM every day except on Second Saturday, Sunday and public holidays.                                                                            

(a)       The site of the work is available which may be seen before tendering.

(b)      The Time Allowed for carrying out the work will be 05 Months_from the 10th day after the date of written orders to commence the work or from the first day of handing over of the site, whichever is later, in accordance with the phasing, if any, indicated in the tender documents.

3. (a)
The tenders shall be placed in sealed covers to be issued by sale counter CAU(SZ)AGV Complex/Sale counter, Vikas Sadan super scribed the Name of Work, Estimated Amount, Day and Date of opening and Name of Contractor to whom the Tender Documents are sold. These tenders will be submitted by the Contractor at following locations 


(i)
At Ist Floor, Press Building, Vikas Sadan, DDA Office for South Zone.

Separate boxes are available for submission of tenders for each day of opening.  The Contractor should ensure that tenders are placed in the proper boxes fixed and provided for a particular day up to seven days in advance (including date of opening) during 10 AM to 5 PM except the date of opening when it will be upto 3.00  PM only.

(b)
Offers can also be sent by the Contractors through Registered post to the Executive Engineer concerned but such offers must reach at least one day before the date of opening of tenders.

(c )
The tenders will be opened by the concerned Executive Engineer on the date  fixed at 3.30 pm at Vikas Sadan only. Intending Tenderers or one of their authorized representative (having proper Authority on letter head of the Contractor) will be allowed to enter into the premises where tenders will be opened.

4.
Tender documents consisting of plans, Specifications, the schedule of quantities of the various classes of work to be done and the set of terms and conditions of Contract to be complied with by the Contractor whose tender may be accepted and other necessary documents can be seen in the office of the CAU(SZ)AGVC/Sale Counter, Vikas Sadan between hours of 11.00  AM to 3.00 PM from ……to……on any working day.  Tender documents will be issued during the above mentioned hours on any working day 

A………..

C…………

CS……….

OW………

D…….
- 3 -


from the office of CAU(SZ)AGVC/Sale Counter Vikas Sadan on payment of the following amount:-

i)Rs. 1000/-+ Vat @4% in cash as cost of Tender(non refundable)

ii)Earnest Money of Rs.2,29,323/- .in cash upto Rs.10,000/- only/Receipt Treasury challan/Deposit at Call Receipt of a Scheduled Bank/Fixed Deposit Receipt of a Scheduled Bank/Demand  Draft of a Scheduled Bank issued in favour of Sr. AO(CAU)S. Zone,  DDA.  When amount of Earnest Money is more than Rs.5 lakh, part of Earnest Money is acceptable in the form of Bank Guarantee also.  In such case minimum 50% of Earnest Money (but not less than Rs.5 lakh) shall be deposited in the shape as described above & for balance amount of Earnest Money, Bank Guarantee will also be accepted in favour of Sr.AO(CAU)South Zone, DDA.

It shall be ensured that Demand Draft/Fixed Deposit Receipt is valid for a period of Six months or more after the last date of receipt of tender and the same shall be in favour of Sr. Accounts officer, CAU(SZ)/DDA.  No interest shall be paid on Earnest Money as deposited with DDA.

5.
The Contractor should quote in figures as well as in words the rate and amount tendered by them.  The amount for each items should be worked out and the requisite totals be given.

6.
When a Contractor signs a tender in an Indian language, total amount tendered in the PWD form No.7, 8 & 12 should also be written in same language.  In the case of illiterate Contractor the rate/amount tendered should be attested by a witness.

8.
Each tender must be submitted in sealed cover addressed to Executive Engineer/S.W.D.-2. 

8(a)
The Contractor, whose tender is accepted, shall execute an Agreement on Rs.50/- stamp paper reiterating his acceptance of the execution of the work on the rate and conditions set in the Contract document. The issue of tender form will be stopped four days before (i/c date of opening) the date fix for opening of tender.

9.
The Contractor, whose tender is accepted, shall be required to furnish by way of Performance Guarantee/Security Deposit for due fulfillment of his Contract at the following rate:-

a)
Performance Guarantee of 5% (five percent) of the tendered amount for the proper performance of the Contract Agreement within fifteen days of issue of letter of intent.  This period can be further extended by the Engineer-in-Charge upto a maximum period of seven days on written request of the Contractor.  This guarantee shall be in the form of Govt. Security or Fixed Deposit Receipt or Guarantee Bond of any Scheduled Bank or the State Bank of India in accordance with the form annexed hereto.

b)
Security Deposit @ 5% (five percent) of the tendered value of the work by way of deduction from the running bills of the Contractor @ 10% (ten percent) of gross amount of each running bill till the sum alongwith the sum already deposited as Earnest Money will amount to 5% of the tendered value of the work.

A………..

C…………

CS……….

OW………

D…………







-6-
23.
The tender for the work shall not be witnessed by a Contractor or Contractors who himself/themselves has/have tendered for the same work.  Failure to observe this condition would render the tender of tenderers as well as witnessing the tender liable to summarily rejected.
24.
Approved and eligible Contractors of CPWD and those of appropriate class of DDA, Railways, P & T, and MES are also eligible to tender (refer press tender notice).
25.
While quoting the rate in Schedule of Quantities the word only should be written closely following the amount and it should not be written in the next line.
26.
The tender for the Composite Work included the Building portion, Sanitary, Water Supply, Drainage Works and Electrical Works.
27.
The Tenderer must associate with agencies of the appropriate class which are eligible to tender for Sanitary, Water Supply installation and Electrical Works.
28.
The Contractor shall submit the list of works which are in hand (progress) in the Performa given below.
Name of Work
     Name and particulars of
Amount of 
Position of 
Remarks



     Division where the work
work in 
work



     is being executed.

Progress

29.
The tenderer shall inspect and study the drawings referred in the Tender documents in the office of the Executive Engineer before and for the purpose of submitting the tender.

Additional Clause
30. Case of withdrawal of offer
                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                   
   Action to be taken

 (i) If the Contractor withdraw offer         

The 50% Earnest Money deposited by the 

    within 60 days of quoting the rates, 

 Contractor shall be forfeited absolutely.
 (ii)If the Contractor withdraw his offer
                  The Earnest   Money deposited by the 

immediately after the Award of Work.  

 Contractor shall be forfeited absolutely. 

iii)If the Contractor withdraw his offer 

 It is deemed   that    the   Contractor    has

     after award of work.     
entered into Agreement and action to penalise the Contractor, for not completing the work within the stipulated period under Clause 2&3, will be taken against the Contractor, if he abandons the site after taking over the possession of the site from the Engineer-in-Charge.  For taking action under Clause 2 & 3, the only documentary proof required will be the document showing signature of the Contractor or his authorized representative for taking over the possession of site.  It is further clarified that action under Clause 2 & 3 of the Agreement attracted even 

-8-

Name of Contractor…………………………………………………..

Date of Application & Receipt ………………………………………..

Tender issued on …………………Cost of Tender Rs…………/-

Tender issued at :- Vikas Sadan/CAU(SZ)/Division Office.











PWD-8

Delhi Development Authority

Item Rate Tender For work

I/We here by tender for the execution of the work for the Delhi Development Authority which is specified in underwritten memorandum within the time specified in such memorandum at the item rate entered in the schedule attached and in accordance to  all aspects with the Specifications design, drawings and instructions in writing, referred to in clause-11 of the conditions of Contract, and with such materials as are provided for by and in all other respect in accordance with such conditions so far as applicable.

Memorandum

(a)
General Description


Name of Work             :  
C/o 2304 Mega Housing Project behind D-6, Vasant Kunj.





SH: C/o Community Hall behind D-6, Vasant Kunj.

(b)
Estimated Cost
: 
Rs.1,14,66,129/-
 (c )
Earnest Money

: 
Rs.2,29,323/-
(d)
Security Deposit
: As per Clause (To be calculated on Tendered Cost)

(e)
Time allowed for the work from the 10th day after the date of written order to 

 Commence  05 Months
A………..

C…………

CS……….

OW………

D…………

SCHEDULE OF QUANTITIES

Name of Work
:
C/o 2304 Mega Houses (HIG/MIG/LIG) behind D-6, Vasant Kunj.

Sub Head

:
C/o Community Hall at Mega Housing Scheme behind D-6 Vasant Kunj.

	Item No.
	Description of Work
	Unit
	Qty
	Rate
	Amount

	
	EARTH WORK
	
	
	
	

	1.
	Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5m in width as well as 10 sqm on plan) including disposal of excavated earth, lead up to 50 m and lift up to 1.5 m; disposed earth to be leveled and neatly dressed. 
	
	
	
	

	
	(a) All kinds of soil
	Cum
	280.76
	101.85
	Rs.28595.00

	2.
	Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means in foundations, trenches or drains (not exceeding 1.5 m or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift up to 1.5 m; including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 M.
	
	
	
	

	
	(a) All kinds of soil
	Cum
	70.68
	103.40
	Rs.7308.00

	3.
	Supplying and filling in plinth with jamuna sand under floors including watering, ramming, consolidating and dressing complete. 
	Cum
	64.13
	301.50
	Rs.19335.00

	4.
	Filling available excavated earth (excluding rock) in trenches, plinth, side of foundations etc. in layers not exceeding 20 cm in depth, consolidating each, deposited layer by ramming and watering, lead up to 50 and lift up to 1.5 m. 
	Cum
	175.16
	45.70
	Rs.8005.00

	5.
	Supplying and stacking of good earth at site including royalty and carriage up to 1 km lead and lift (earth measured in stacks will be reduced by 20% for payment)
	Cum
	200.00
	144.05
	Rs.28810.00

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	CEMENT CONCRETE
	
	
	
	

	6.
	Providing and laying in position Cement Concrete of specified grade excluding the cost the cost of centering and shuttering – All work up to plinth level:
	
	
	
	

	
	(a) 1:5:10 (1 Cement : 5 Coarse sand : 10 graded stone aggregate) 40 mm nominal size)
	Cum
	34.03
	2237.75
	Rs.76151.00

	
	(b)1:2:4 (1Cement 2 C. sand :4 graded tore aggregate 12.5mm nominal size 
	Cum
	1.87
	3257.45
	Rs.6091.00

	7.
	Providing and laying damp-proof course 40 mm thick with Cement Concrete 1:2:4 (1 Cement : 2 Coarse sand : 4 graded stone aggregate 12.5 mm nominal size). 
	Sqm
	86.00
	144.15
	Rs.12397.00

	8.
	Extra for providing and fixing water proofing material in cement concrete work @ 1 Kg per 50 Kg of cement.
	Per 50 Kg cement
	19.00
	27.45
	Rs.522.00

	9.
	Applying a coat of residual petroleum bitumen of penetration 80/100 of approved quality using 1.7 kg per square metre on damp proof course after cleaning the surface with brushes and finally with a piece of cloth lightly in kerosene oil.
	Sqm
	39.28
	58.60
	Rs.2302.00

	
	
	
	
	Total
	Rs.189516.00

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	REINFORCED CEMENT CONCRETE
	
	
	
	

	10.
	Providing and laying in position specified grade of Reinforced Cement Concrete in excluding the cost of centering, shuttering, finishing and reinforcement – All work up to plinth level.
	
	
	
	

	
	
	
	
	
	

	
	(a)1:2:4 (1 Cement : 2 Coarse sand : 4 graded stone aggregate 20 mm nominal size)
	Cum
	90.69
	3359.00
	Rs.304682.00

	
	
	
	
	
	

	11.
	Providing and laying in position machine batched, machine mixed and machine vibrated design mix cement concrete of specified grade for reinforced cement concrete work including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement including Admixtures in recommended proportions as per IS 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. M-25 grade reinforced cement concrete by using 410 kg. of cement per cum of concrete. All work up to floor V level
	Cum
	363.00
	4147.70
	Rs.1505506.00

	
	
	
	
	
	

	12.
	Centering and shuttering including strutting, propping etc. and removal of form for :
	
	
	
	

	
	
	
	
	
	

	
	(a) Foundations, footings, bases of columns, etc. for mass concrete
	Sqm
	354.00
	119.25
	Rs.42215.00

	
	
	
	
	
	

	
	(b) Suspended floors, roofs, landings, balconies and access platform.
	Sqm
	1051.05
	187.35
	Rs.196914.00

	
	
	
	
	
	

	
	(c)Lintels, beams, plinth beams, girders, bressumers and cantilevers
	Sqm
	488.10
	162.65
	Rs.79389.00

	
	
	
	
	
	

	
	(d)Shelves (Cast in situ)
	Sqm
	13.92
	187.35
	Rs.2608.00

	
	
	
	
	
	

	
	(e)Columns, Pillars, Piers, Abutments, Posts and Struts
	Sqm
	547.00
	238.40
	Rs.130405.00

	
	(f)Stairs (excluding landings) except spiral – staircases
	Sqm
	35.00
	204.00
	Rs.7140.00

	
	(g) For inclined surface as indicated in drawings
	Sqm
	164.00
	224.82
	Rs.36870.00

	
	
	
	
	
	

	13.
	Extra for shuttering in circular works (20% extra for Column, Pillars, Piers, Abutments, Posts and Struts)
	Sqm
	50.00
	286.08
	Rs.14304.00

	
	
	
	
	
	

	14.
	Extra for additional height in centering, shuttering wherever required with adequate bracing, propping etc. including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured).
	
	
	
	

	
	
	
	
	
	

	
	(a)Suspended floors, roofs, landing, beams and balconies (Plan area to be measrued)
	Sqm
	1051.05
	106.20
	Rs.111622.00

	
	
	
	
	
	

	15.
	Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete.
	
	
	
	

	
	
	
	
	
	

	
	(a)Thermo-Mechanically Treated Bars
	Kilogram
	54500.00
	42.70
	Rs.2327150.00

	
	
	
	
	
	

	16.
	Providing, hoisting and fixing up to floor five level precast reinforced cement concrete in mouldings as in cornices, windows, sills etc. including setting in cement mortar 1:3 (1 cement : 3 coarse sand) cost of required centering, shuttering and finishing smooth with 6 mm thick cement plaster 1:3 (1 cement : 3 fine sand) on exposed surfaces complete but excluding the cost of reinforcement with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size). 
	Cum
	1.89
	6725.35
	Rs.12711.00

	
	
	
	(Rupees Six Thousand Seven Hundred Twenty Five and Thirty Five Paise Only)
	

	
	
	
	
	
	

	
	
	
	
	Total
	Rs.49,61,032.00

	
	BRICK WORK
	
	
	
	

	
	
	
	
	
	

	17.
	Brick work with FPS bricks of class designation 75 in foundation and plinth in :
	
	
	
	

	
	
	
	
	
	

	
	(a)Cement mortar 1:6 (1 cement : 6 coarse sand)
	Cum
	109.21
	2121.75
	Rs.231716.00

	
	
	
	(Rupees Two Thousand One Hundred Twenty One and Seventy Five Paise Only)
	

	
	
	
	
	
	

	18.
	Brick work with F.P.S. bricks of class designation 75 in superstructure above plinth level up to floor V level in all shapes and sizes in:
	
	
	
	

	
	
	
	
	
	

	
	(a)Cement mortar 1:6 (1 cement : 6 coarse sand)
	Cum
	244.60
	2430.25
	Rs.594439.00

	
	
	
	(Rupees Two Thousand Four Hundred Thirty and Twenty Paise Only)
	

	
	
	
	
	
	

	19.
	Half brick masonry with F.P.S. bricks of class designation 75 in superstructure above plinth level up to floor V level.
	
	
	
	

	
	
	
	
	
	

	
	(a) Cement mortar 1:4 (1 cement : 4 coarse sand)
	Sqm
	140.86
	302.80
	Rs.42652.00

	
	
	
	(Rupees Three Hundred Two and Eighty Paise Only)
	

	
	
	
	
	
	

	20.
	Extra for providing and placing in position 2 Nos. 6mm dia. M.S. bars at every third course of half brick masonry (with F.P.S. bricks).
	Sqm
	140.86
	47.80
	Rs.6733.00

	
	
	
	(Rupees Forty Seven and Eighty Paise Only)
	

	
	FLOORING AND SKIRTING
	
	
	
	

	
	
	
	
	
	

	21.
	Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand)
	
	
	
	

	
	
	
	
	
	

	
	(a) 25 mm thick
	Sqm
	580.00
	694.40
	Rs.402752.00

	
	
	
	(Rupees Six Hundred Ninety Four and Forty Paise Only)
	

	
	
	
	
	
	

	22.
	Rough Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand).
	
	
	
	

	
	
	
	
	
	

	
	(a) 25 mm thick
	Sqm
	150.00
	402.21
	Rs.60332.00

	
	
	
	(Rupees Four Hundred Two and Twenty One Paise Only)
	

	
	
	
	
	
	

	23.
	Kota stone slabs 25 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1 : 3 (1 cement : 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete.
	Sqm
	29.85
	676.75
	Rs.20201.00

	
	
	
	(Rs. Six Hundred Seventy Six and Seventy Five Paise Only)
	

	24.
	Extra for Kota stone/ sand stone in treads of steps and risers using single length up to 1.05 meter.
	Sqm
	24.98
	6.45
	Rs.161.00

	
	
	
	(Rupees Six and Forty Five Paise Only)
	

	
	
	
	
	
	

	25.
	Provide kota stone/ white marble/ green marble skirting 100 mm wide over with under layer 12 mm thick in cement plaster 1:3 (1 cement : 3 coarse sand).
	RM
	300.00
	119.16
	Rs.35748.00

	
	
	
	(Rupees One Hundred Nineteen and Sixteen Paise Only)
	

	
	
	
	
	
	

	26.
	Providing & fixing 18 mm thick gang saw cut mirror polished premoulded and prepolished machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size of approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edge to give high gloss finish etc. complete at all levels.
	
	
	
	

	
	
	
	
	
	

	
	(a) Granite of any colour and shade
	
	
	
	

	
	(i) Area of slab over 0.50 sqm.
	Sqm
	27.12
	2543.65
	Rs.68984.00

	
	
	
	(Rupees Two Thousand Five Hundred Forty Three and Sixty Five Paise Only)
	

	
	
	
	
	
	

	27.
	Marble work gang saw cut (polished and machine cut) of thickness 18 mm for wall lining (veneer work) in cement mortar 1:3 (1 cement : 3 coarse sand) including pointing with white cement mortar 1:2 (1 white cement : 2 marble dust) with an admixture of pigment to match the marble shade. (To be secured to be backing by mean of cramps, which shall be paid for separately)
	
	
	
	

	
	
	
	
	
	

	
	(a) Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble.
	
	
	
	

	
	(i) Area of slab over 0.50 sqm.
	Sqm
	554.32
	1562.30
	Rs.866125.00

	
	
	
	(Rupees One Thousand Five Hundred Sixty Two and Thirty Paise Only)
	

	
	
	
	
	
	

	28.
	Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacture) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3 kg per sqm including pointing in white cement mixed with pigment of matching shade complete.
	Sqm
	277.55
	556.60
	Rs.154484.00

	
	
	
	(Rupees Five Hundred Fifty Six and Sixty Paise Only)
	

	
	
	
	
	
	

	29.
	Providing and Laying Vitrified Floor tiles in different sizes (thickness to be specified by the manufacture) of water absorption’s less than 0.08% and conforming to IS: 15622 of approved make in all colours and shades, laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting with joints with white cement and matching pigments etc. complete.
	
	
	
	

	
	
	
	
	
	

	
	(a) Sizes of Tiles 500 x 500 mm
	Sqm
	70.76
	1308.05
	Rs.92558.00

	
	
	
	(Rupees One Thousand 

Three Hundred Eight and 

Five Paise Only)
	

	
	
	
	
	
	

	30.
	Tiles work in skirting, risers of steps and dado (up to 2 m height) over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointed with grey cement slurry @ 3.3 kg/sqm including pointing in white cement mixed with pigment of matching shade complete.
	
	
	
	

	
	
	
	
	
	

	
	(a) Vitrified tiles
	Sqm
	5.00
	975.97
	Rs.4880.00

	
	
	
	(Rs. Nine Hundred Seventy Five and Ninety Seven Paise Only)
	

	
	
	
	
	
	

	31.
	Stone work, plain in copings, cornices, string courses and plinth courses,  upto 75mm thick in Cement mortar 1:6 (1 cement : 6 coarse sand) including pointing with white cement mortar 1:2 (1 white cement : 2 stone dust) with an admixture of pigment matching the stone shade.
	
	
	
	

	
	
	
	
	
	

	
	(a) Red sand stone
	Cum
	1.50
	18406.00
	Rs.27609.00

	
	CLADDING WORK
	
	
	
	

	
	
	
	
	
	

	32.
	Providing and fixing dry cladding upto 10 metre heights with 30 mm thick gang saw cut stone with (machine cut edges) of uniform colour and size up to 1m x 1m, fixed to structural steel frame work and/or with the help of cramps, pins etc. and sealing the joints with approved weather sealant as per Architectural drawing and direction of Engineer-in-charge. (The steel frame work, stainless steel cramps and pins etc. shall be paid for separately).
	
	
	
	

	
	
	
	
	
	

	
	(a) Kota stone/ Sand stone
	Sqm
	977.78
	1323.40
	Rs.1293994.00

	
	
	
	(Rupees One Thousand Three Hundred Twenty Three and Forty Paise Only)
	

	
	
	
	
	
	

	33.
	Providing and fixing adjustable stainless steel cramps of approved quality and of required shape and size adjustable with stainless steel nuts bolts and washer (total weight not less than 260 gms) for dry stone cladding fixed on frame work at suitable location including making necessary recesses in stone slab, drilling required holes etc. complete as per direction of Engineer-in-charge.
	Each
	3000
	272.50
	Rs.817500.00

	
	
	
	(Rupees Two Hundred Seventy Two and Fifty Paise Only)
	

	
	
	
	
	
	

	
	
	
	
	Total
	Rs.9681900.00

	
	FINISHING WORK
	
	
	
	

	
	
	
	
	
	

	34.
	12 mm cement plaster of mix :
	
	
	
	

	
	
	
	
	
	

	
	(a) 1:6 (1 cement : 6 fine sand)
	Sqm
	800.00
	67.65
	Rs.54120.00

	
	
	
	(Rupees Sixty Seven and Sixty Five Paise Only)
	

	
	(b) 1:6 (1 cement : 6 coarse sand)
	Sqm
	301.55
	72.70
	Rs.21923.00

	
	
	
	
	
	

	35.
	15 mm cement plaster on the rough side of single or half brick wall of mix :
	
	
	
	

	
	
	
	
	
	

	
	(a) 1:6 (1 cement : 6 fine sand)
	Sqm
	654.73
	78.55
	Rs.51429.00

	
	
	
	(Rupees Seventy Eight and Fifty Five Paise Only)
	

	
	(b) 1:6 (1 cement : 6 coarse sand)
	Sqm
	264.06
	84.55
	Rs.22326.00

	
	
	
	
	
	

	36.
	6 mm cement plaster of mix :
	
	
	
	

	
	(a) 1:3 (1 cement : 3 fine sand)
	Sqm
	1196.00
	62.15
	Rs.74331.00

	
	
	
	(Rupees Sixty Two and Fifteen Paise Only)
	

	
	
	
	
	
	

	37.
	Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade
	
	
	
	

	
	
	
	
	
	

	
	(a) New work (two or more coats) over and including priming coat with cement primer.
	Sqm
	1454.73
	41.55
	Rs.60444.00

	
	
	
	(Rupees Forty One and Fifty Five Paise Only)
	

	38.
	Providing and applying Plaster of Paris Putty 2 mm thickness over plastered surface to prepare the surface even and smooth complete.
	Sqm
	1454.73
	47.20
	Rs.68663.00

	
	
	
	
	
	

	39.
	Finishing walls with textured exterior paint of required shade:
	
	
	
	

	
	(a) New work (Two or more coats @ 3.28 ltr/10 sqm) over and including base coat of water proofing cement paint applied @ 2.20kg/10 sqm.
	Sqm
	565.61
	96.25
	Rs.54440.00

	
	WATER PROOFING WORK
	
	
	
	

	40.
	Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc. consisting of following operations.
	Sqm
	185.00
	541.50
	Rs.100178.00

	
	
	
	
	
	

	
	(a) Applying a slurry coat of neat cement using 2.75 kg/sqm. Of cement admixed with water proofing compound conforming to IS 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment.
	
	
	
	

	
	
	
	
	
	

	
	(b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs.
	
	
	
	

	
	
	
	
	
	

	
	(c) After two days of proper curing applying a second coat of cement slurry 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS 2645 and approved by Engineer-in-charge.
	
	
	
	

	
	(d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement : 4 coarse sand) admixed with water proofing compound conforming to IS 2645 and approved by Engineer-in-charge including laying glass fiber cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300 x 300 mm square 3mm deep.
	
	
	
	

	
	(e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-charge with average thickness of 120 mm and minimum thickness at Khurra as 65 mm.
	
	
	
	

	
	
	
	
	
	

	41.
	Making khurras 45 x 45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C sheet 1 m x 1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement rounding the edge and making and finishing the outlet complete.
	Each
	4.00
	108.00
	Rs.432.00

	
	
	
	(Rupees One Hundred Eight and Nil Paise Only)
	

	
	
	
	
	
	

	42.
	Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of:
	
	
	
	

	
	(i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface.
	
	
	
	

	
	
	
	
	
	

	
	(ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface.
	
	
	
	

	
	
	
	
	
	

	
	(iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area.
	
	
	
	

	
	
	
	
	
	

	
	(iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg./sqm.
	Sqm
	107.01
	272.50
	Rs.29160.00

	
	
	
	(Rupees Two Hundred Seventy Two and Fifty Paise Only)
	

	
	
	
	
	
	

	
	DOOR WINDOW WORK
	
	
	
	

	43.
	Providing and fixing ISI marked flush door shutters conforming to IS 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:
	
	
	
	

	
	
	
	
	
	

	
	(a) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws.
	Sqm
	35.91
	929.95
	Rs.33395.00

	
	
	
	
	
	

	44.
	Providing and fixing T-iron frames of doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded with 15 x 3 mm lugs 10 cm long embedded in cement concrete blocks 15 x 10 x 10 cm of 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 cm nominal size) or with wooden plugs and screws or rawl plugs and screws or with dash fastener or with fixing clips or with bolts and nuts as require including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer.
	Kg
	315.90
	51.15
	Rs.16158.00

	
	
	
	
	
	

	45.
	Providing and fixing Aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixed with rawl plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC/ neoprene felt etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing/ paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing and paneling to be paid for separately)
	
	
	
	

	
	
	
	
	
	

	
	(a) For Fixed Position
	
	
	
	

	
	(i) Anodized aluminium (anodized) transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15
	Kg
	270.00
	290.45
	Rs.78422.00

	
	
	
	(Rupees Two Hundred Ninety and Forty Five Paise Only)
	

	
	(b) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of PVC/ neoprene gasket required (Fittings shall be paid for separately).
	
	
	
	

	
	(i)Anodized aluminium (anodized) transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15
	Kg
	660.00
	310.45
	Rs.204897.00

	
	
	
	(Rupees Three Hundred Ten and Forty Five Paise Only)
	

	46.
	Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with PVC/ neoprene gasket etc. complete as per the architectural drawings and directions of Engineer-in-charge. (Cost of aluminium snap beading shall be paid in basic item):
	
	
	
	

	
	
	
	
	
	

	
	(a) With float glass panes of 4.00 mm thickness
	Sqm
	50.00
	554.95
	Rs.27748.00

	
	
	
	(Rs. Five Hundred Fifty Four and Ninety Five Paise Only)
	

	
	
	
	
	
	

	
	(b) With float glass panes of 5.50 mm thickness
	Sqm
	68.23
	673.55
	Rs.45956.00

	
	
	
	(Rupees Six Hundred Seventy Three and Fifty Five Paise Only)
	

	
	
	
	
	
	

	47.
	Providing and fixing aluminum sliding door bolts ISI marked anodized (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete.
	
	
	
	

	
	
	
	
	
	

	
	(a) 300 x 16mm
	Each
	6.00
	158.50
	Rs.951.00

	
	
	
	(Rupees One Hundred Fifty Eight and Fifty Paise Only)
	

	
	
	
	
	
	

	
	(b) 250 x 16 mm
	Each
	19.00
	134.10
	Rs.2548.00

	
	
	
	
	
	

	48.
	Providing and fixing aluminum tower bolts ISI marked anodized (anodic coating not less than AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete
	
	
	
	

	
	
	
	
	
	

	
	(a) 250 x 10 mm
	Each
	18.00
	62.20
	Rs.1120.00

	
	
	
	
	
	

	
	(b) 200 x 10 mm
	Each
	13.00
	52.00
	Rs.676.00

	
	
	
	
	
	

	49. 
	Providing and fixing aluminum handles ISI marked anodized (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete : 
	
	
	
	

	
	
	
	
	
	

	
	(a) 125 mm
	Each
	62.00
	48.85
	Rs.3026.00

	
	
	
	
	
	

	50.
	Providing and fixing aluminum hanging floor door stopper ISI marked anodized (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade with necessary screws etc. complete :
	
	
	
	

	
	
	
	
	
	

	
	(a) Twin rubber stopper 
	Each
	14.00
	53.90
	Rs.746.00

	
	
	
	
	Total
	Rs.1,05,85,989.00

	
	MISCELLANEOUS WORK
	
	
	
	

	
	
	
	
	
	

	51.
	Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) over 75 mm bed by dry brick ballast 40 mm nominal size well rammed and consolidated and grouted with fine sand including finishing the top smooth.
	Sqm
	104.00
	222.65
	Rs.23156.00

	
	
	
	
	
	

	52.
	Providing and fixing of stainless steel railing in staircase and balcony in SS 302 grade as per design/ drawings and instruction of Engineer-in-charge.
	RM
	11.00
	1275.49
	Rs.14030.00

	
	
	
	(Rupees One Thousand Two Hundred Seventy Five and Forty Nine Paise Only)
	

	
	
	
	
	
	

	53.
	Providing and fixing stainless steel railing in ramp as per design/ drawings and instruction for Engineer-in-charge.
	
	
	
	

	
	
	
	
	
	

	
	(a) Flat 60 x 5 mm, 150 mm height @ 1200 mm c/c
	RM
	130.00
	424.72
	Rs.55214.00

	
	
	
	(Rs. Four Hundred Twenty Four and Seventy Two Paise Only)
	

	
	
	
	
	
	

	
	(b) 65 mm dia pipe in railing
	RM
	140.00
	1275.49
	Rs.178569.00

	
	
	
	(Rupees One Thousand Two Hundred Seventy Five and Forty Nine Paise Only)
	

	
	
	
	
	
	

	54.
	Providing and laying 50 mm thick rough kota stone over 25 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) laid on cement concrete 100 mm thick 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm thick) over compacted earth as directed.
	Sqm
	220.00
	994.76
	Rs.218847.00

	
	
	
	
	
	

	
	
	
	
	Total
	Rs.1,10,75,805.00

	
	PLUMBING WORK
	
	
	
	

	
	
	
	
	
	

	55.
	Excavating trenches of required width for pipes, cables, etc. including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m including getting out the excavated soil, and then returning the soil as required, in layer not exceeding 20 cm in depth including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m
	
	
	
	

	
	
	
	
	
	

	
	(a) All kinds of soil
	
	
	
	

	
	
	
	
	
	

	
	(i) Pipes, cables etc., not exceeding 80 mm dia
	Meter
	20.00
	70.45
	Rs.1409.00

	
	
	
	
	
	

	
	(ii) Pipes, cables etc., exceeding 80 mm dia. but not exceeding 300 mm dia.
	Meter
	40.00
	115.05
	Rs.4602.00

	
	SANITARY INSTALLATION
	
	
	
	

	
	
	
	
	
	

	56.
	Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P.  flush bend with fittings & C.I. brackets, 40mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete including painting of fittings and  brackets, cutting and making good the walls and floors wherever required:
	
	
	
	

	
	
	
	
	
	

	
	(a) W.C. pan with ISI marked white solid plastic seat and lid.
	Each
	11.00
	3282.95
	Rs.36112.00

	
	
	
	
	
	

	57.
	Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430 x 260 x 350 mm and 340/410/265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I. clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required.
	
	
	
	

	
	
	
	
	
	

	
	(a) Range of three urinal basins with 10 litre white PVC automatic flushing cistern.
	Each
	2.00
	4491.60
	Rs.8983.00

	
	
	
	(Rupees Four Thousand Four Hundred Ninety One and Sixy Paise Only)
	

	58.
	Providing and fixing wash basin with C.I. brackets, 15 mm C.P.  brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require.
	
	
	
	

	
	(a) White Vitreous China wash basin of size 630 x 450 mm with a pair of 15 mm C.P. brass pillar taps with elbow operated levers.
	Each
	9.00
	1332.90
	Rs.11996.00

	
	
	
	
	
	

	59.
	Providing and fixing white vitreous china pedestal for wash basin completely recessed at the back for the reception of pipes and fittings.
	Each
	1.00
	705.90
	Rs.706.00

	
	
	
	(Rupees Seven Hundred Five and Ninety Paise Only)
	

	
	
	
	
	
	

	60.
	Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS 13983 with C.I. bracket and stainless steel plug 40 mm including painting of fittings and brackets, cutting and making good the walls wherever required.
	
	
	
	

	
	
	
	
	
	

	
	(a) Kitchen sink with drain board
	
	
	
	

	
	(i) 510 x 1040 mm bowl depth 250 mm
	Each
	2.00
	6154.35
	Rs.12309.00

	
	
	
	(Rupees Six Thousand One Hundred Fifty Four and Thirty Five Paise Only)
	

	
	
	
	
	
	

	61.
	Providing and fixing 600 x 450 mm beveled edge mirror of superior glass complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washer complete.
	Each
	9.00
	493.65
	Rs.4443.00

	
	
	
	(Rs. Four Hundred Ninety Three and Sixty Five Paise Only)
	

	
	
	
	
	
	

	62.
	Providing and fixing 600 x 120 x 5 mm glass shelf with edges round of supported on anodized aluminium angle frame with C.P. brass brackets and guard rail complete fixed with 40 mm long screws, rawl plugs etc. complete.
	Each
	9.00
	218.80
	Rs.1969.00

	
	
	
	(Rupees Two Hundred Eighteen  and Eighty Paise Only)
	

	
	
	
	
	
	

	63.
	Providing and fixing toilet paper holder
	
	
	
	

	
	
	
	
	
	

	
	(a) C.P. Brass
	Each
	11.00
	147.10
	Rs.1618.00

	
	
	
	
	
	

	64.
	Providing and fixing soil, waste & vent pipes
	
	
	
	

	
	
	
	
	
	

	
	(a) 100 mm dia
	
	
	
	

	
	(i) Centrifugally Cast (Spun) iron socketed pipe as per IS: 3989
	Rmt
	152
	730.40
	Rs.111021.00

	
	
	
	
	
	

	65.
	Providing and filling the joints with spun yarn cement slurry and cement mortar 1:2 (1 cement : 2 fine sand) in S.C.I./C.I. pipes.
	
	
	
	

	
	
	
	
	
	

	
	(a) 100 mm dia pipe
	Each
	15.00
	29.80
	Rs.447.00

	
	
	
	
	
	

	66.
	Providing and fixing MS holder-bat clamps of approved design to Sand cast iron/ cast iron (spun) pipe embedded in and including cement concrete blocks 10 x 10 x 10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) including cost of cutting holes and making good the walls etc.
	
	
	
	

	
	
	
	
	
	

	
	(a) For 100 mm dia pipe
	Each
	35.00
	65.35
	Rs.2287.00

	
	
	
	(Rupees Sixty Five  and Thirty Five Paise Only)
	

	
	
	
	
	
	

	67.
	Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts & nuts complete.
	
	
	
	

	
	
	
	
	
	

	
	(a) 100 mm
	
	
	
	

	
	(i) Sand cast iron S&S as per IS – 3989
	Each
	6.00
	291.00
	Rs.1746.00

	
	
	
	(Rupees Two Hundred Ninety One and Nil Paise Only)
	

	
	
	
	
	
	

	68.
	Providing and fixing plain bend of required degree
	
	
	
	

	
	
	
	
	
	

	
	(a) 100 m
	
	
	
	

	
	(i) Sand cast iron S&S as per IS – 3989
	Each
	35.00
	236.40
	Rs.8274.00

	
	
	
	(Rupees Two Hundred Thirty Six and Forty Paise Only)
	

	
	
	
	
	
	

	69.
	Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.
	
	
	
	

	
	
	
	
	
	

	
	(a) 100 x 100 x 100
	
	
	
	

	
	(i) Sand cast iron S&S as per IS – 3989
	Each
	4.00
	489.60
	Rs.1958.00

	
	
	
	(Rupees Four Hundred Eighty Nine and Sixty Paise Only)
	

	
	
	
	
	
	

	70.
	Providing and fixing single equal plain junction of required degree.
	
	
	
	

	
	
	
	
	
	

	
	(a) 100 x 100 x 100
	
	
	
	

	
	(i) Sand cast iron S&S as per IS – 3989
	Each
	18.00
	442.00
	Rs.7956.00

	
	
	
	(Rupees Four Hundred Forty Tow and Nil Paise Only)
	

	
	
	
	
	
	

	71.
	Providing and fixing terminal guard
	
	
	
	

	
	
	
	
	
	

	
	(a) 100 mm
	
	
	
	

	
	(i) Sand cast iron S&S as per IS – 3989
	Each
	8.00
	194.60
	Rs.1557.00

	
	
	
	(Rupees One Hundred Ninety Four and Sixty Paise Only)
	

	72.
	Providing and fixing collar
	
	
	
	

	
	
	
	
	
	

	
	(a) 100 mm
	
	
	
	

	
	(i) Sand cast iron S&S as per IS – 3989
	Each
	30.00
	202.70
	Rs.6081.00

	
	
	
	
	
	

	73.
	Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter
	
	
	
	

	
	
	
	
	
	

	
	(a) 100 mm
	Each
	120.00
	126.50
	Rs.15180.00

	
	
	
	
	
	

	74.
	Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors.
	
	
	
	

	
	
	
	
	
	

	
	(a) 100 mm inlet & 100 mm outlet
	
	
	
	

	
	(i) Sand cast iron S&S as per IS – 3989
	Each
	13.00
	544.30
	Rs.7076.00

	
	
	
	
	
	

	75.
	Cutting chases in brick masonry walls for following diameter sand cast iron/centrifugally cast (Spun) iron pipes and making good the same with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 12.5 mm nominal size) including necessary plaster and pointing in cement mortar 1:4 (1 cement : 4 coarse sand)
	
	
	
	

	
	
	
	
	
	

	
	(a) 100 mm dia
	Meter
	2.00
	152.45
	Rs.305.00

	
	(b) 50 mm dia
	Meter
	5.00
	68.40
	Rs.342.00

	
	
	
	
	
	

	
	
	
	
	Total
	Rs.1,13,24,182.00

	
	
	
	
	
	

	
	WATER SUPPLY
	
	
	
	

	
	
	
	
	
	

	76.
	Providing and fixing G.I. pipes complete with G.I. fittings and clamps including cutting and making good the walls etc.
	
	
	
	

	
	
	
	
	
	

	
	Internal Work – Exposed on Wall
	
	
	
	

	
	
	
	
	
	

	
	(a) 15 mm dia nominal bore
	Meter
	5.00
	105.85
	Rs.529.00

	
	
	
	(Rupees One Hundred Five and Nil Eighty Five Only)
	

	
	(b) 20 mm dia nominal bore
	Meter
	30.00
	133.85
	Rs.4016.00

	
	
	
	(Rs. One Hundred Thirty Three and Eighty Five Paise Only)
	

	
	(c) 25 mm dia nominal bore
	Meter
	60.00
	179.65
	Rs.10779.00

	
	
	
	(Rupees One Hundred Seventy Nine and Sixty Five Paise Only)
	

	
	(d) 32 mm dia nominal bore
	Meter
	45.00
	226.10
	Rs.10175.00

	
	
	
	
	

	
	
	
	(Rupees Two Hundred Twenty Six and Ten Paise Only)
	

	
	(e) 40 mm dia nominal bore
	Meter
	15.00
	264.05
	Rs.3961.00

	
	
	
	
	

	
	
	
	(Rupees Two Hundred Sixty Four and Five Paise Only)
	

	
	(f) 50 mm dia nominal bore
	Meter
	15.00
	342.90
	Rs.5144.00

	
	
	
	(Rupees Three Hundred Forty Two and Ninety Paise Only)
	

	
	
	
	
	
	

	77.
	Concealed pipe including painting with anti corrosive bitumastic paint, cutting chases and making good the wall
	
	
	
	

	
	
	
	
	
	

	
	(a) 15 mm dia
	Meter
	50.00
	144.75
	Rs.7238.00

	
	
	
	(Rs. One Hundred Forty Four and Seventy Five Paise Only)
	

	
	(b) 20 mm dia
	Meter
	50.00
	170.15
	Rs.8508.00

	
	
	
	(Rupees One Hundred Seventy and Fifteen Only)
	

	
	
	
	
	
	

	78.
	Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc.
	
	
	
	

	
	
	
	
	
	

	
	(a) 25 mm dia
	Meter
	20.00
	156.85
	Rs.3137.00

	
	
	
	(Rupees One Hundred Fifty Six and Eighty Five Paise Only)
	

	
	
	
	
	
	

	79.
	Making connections of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete.
	
	
	
	

	
	
	
	
	
	

	
	(a) 25 to 40 mm
	Each
	2.00
	166.05
	Rs.332.00

	
	
	
	(Rupees One Hundred Sixty Six and Five Paise Only)
	

	
	
	
	
	
	

	80.
	Fixing water meter and stop cock in G.I. pipe line including cutting and threading the pipe and making long screws etc. complete (cost of water meter and stop cock to be paid separately)
	Each
	2.00
	121.90
	Rs.244.00

	
	
	
	(Rupees One Hundred Twenty One and Ninety Paise Only)
	

	
	
	
	
	
	

	81.
	Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end)
	
	
	
	

	
	
	
	
	
	

	
	(a) 25 mm dia nominal bore
	Each
	4.00
	285.50
	Rs.1142.00

	
	
	
	(Rupees Two Hundred Eighty Five and Fifty Paise Only)
	

	
	(b) 32 mm dia nominal bore
	Each
	1.00
	358.00
	Rs.358.00

	
	
	
	
	
	

	82.
	Providing and fixing ball valve (brass) of approved quality, high or low pressure, with plastic floats complete
	
	
	
	

	
	
	
	
	
	

	
	(a) 25 mm dia
	Each
	2.00
	385.90
	Rs.772.00

	
	
	
	(Rupees Three Hundred Eighty Five and Ninety Paise Only)
	

	83.
	Providing and fixing unplasticised PVC connection pipe with brass unions
	
	
	
	

	
	
	
	
	
	

	
	(a) 45 cm length
	
	
	
	

	
	(i) 15 mm nominal bore
	Each
	26.00
	44.75
	Rs.1164.00

	
	
	
	(Rupees Forty Four and Seventy Five Paise Only)
	

	84.
	Constructing masonry chamber 30 x 30 x 50 cm, inside with 75 class designation brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for stop cock, with C.I. surface box 100 x 100 x 75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) necessary excavation foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick finished with a floating coat of neat cement complete as per standard design.
	
	
	
	

	
	
	
	
	
	

	
	(a) With F.P.S. bricks
	Each
	2.00
	599.80
	Rs.1200.00

	85.
	Painting G.I. pipes and fittings with synthetic enamel white paint over a ready mixed priming coat, both of approved quality of new work.
	
	
	
	

	
	
	
	
	
	

	
	(a) 15 mm diameter pipe.
	Meter
	5.00
	4.65
	Rs.23.00

	
	
	
	(Rupees Four and Sixty Five Paise Only)
	

	
	(b) 20 mm diameter pipe.
	Meter
	30.00
	5.45
	Rs.164.00

	
	
	
	(Rupees Five and Forty Five Paise Only)
	

	
	(c) 25 mm diameter pipe.
	Meter
	60.00
	7.20
	Rs.432.00

	
	
	
	(Rupees Seven and Twenty Paise Only)
	

	
	(d) 32 mm diameter pipe.
	Meter
	45.00
	8.50
	Rs.383.00

	
	
	
	(Rs. Eighty and Fifty Paise Only)
	

	
	(e) 40 mm diameter pipe.
	Meter
	15.00
	10.10
	Rs.152.00

	
	
	
	(Rs. Ten and Ten Paise Only)
	

	
	(f) 50 mm diameter pipe.
	Meter
	15.00
	11.80
	Rs.177.00

	
	
	
	(Rs. Eleven and Eighty Paise Only)
	

	86.
	Providing and filling sand of grading zone V or coarser grade all-round the G.I. pipes in external work.
	
	
	
	

	
	
	
	
	
	

	
	(a) 25 mm dia
	Meter
	20.00
	22.85
	Rs.457.00

	
	
	
	(Rupees Twenty Two and Eighty Five Paise Only)
	

	
	
	
	
	
	

	87.
	Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New Work)
	
	
	
	

	
	
	
	
	
	

	
	(a) 15 mm nominal bore
	Each
	2.00
	75.90
	Rs.152.00

	88.
	Providing and placing on terrace (at all floor levels) polythylene water storage tank ISI: 12701 marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank.
	Per Litre
	2000.00
	5.25
	Rs.10500.00

	
	
	
	(Rupees Five  and Twenty Five Paise Only)
	

	89.
	Providing and fixing C.P.  brass bib cock of approved quality conforming to IS: 8931.
	
	
	
	

	
	
	
	
	
	

	
	(a) 15 mm nominal bore
	Each
	11.00
	313.10
	Rs.3444.00

	
	
	
	(Rupees Three Hundred Thirteen and Ten Paise Only)
	

	
	
	
	
	
	

	90.
	Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
	
	
	
	

	
	
	
	
	
	

	
	(a) 15 mm nominal bore
	Each
	8.00
	315.80
	Rs.2526.00

	
	
	
	(Rupees Three Hundred Fifteen and Eighty Paise Only)
	

	
	
	
	
	
	

	91.
	Providing and fixing C.P.  brass angle valve for basin mixer and  geyser points of approved quality conforming to IS: 8931.
	
	
	
	

	
	
	
	
	
	

	
	(a) 15 mm nominal bore
	Each
	27.00
	347.65
	Rs.9387.00

	
	
	
	(Rs. Three Hundred Forty Seven and Sixty Five Paise Only)
	

	
	
	
	
	
	

	92.
	Cutting holes up to 30 x 30 cm in walls including making good the same.
	
	
	
	

	
	
	
	
	
	

	
	(a) With F.P.S.  bricks
	Each
	20.00
	90.90
	Rs.1818.00

	93.
	Cutting holes up to 15 x 15 cm in RCC floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) including finishing complete so as to make it leak proof.
	Each
	6.00
	82.25
	Rs.494.00

	
	
	
	(Rupees Eighty Two and Twenty Five Paise Only)
	

	
	
	
	
	
	

	94.
	Making chases up to 7.5 x 7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc.
	Meter
	15.00
	36.65
	Rs.550.00

	
	DRAINAGE
	
	
	
	

	
	
	
	
	
	

	95.
	Providing, laying and jointing glazed stoneware pipes grades ‘A’ with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete.
	
	
	
	

	
	
	
	
	
	

	
	(a) 100 mm diameter
	Meter
	5.00
	105.90
	Rs.530.00

	
	
	
	(Rupees One Hundred Five and Ninety Paise Only)
	

	
	(b) 200 mm diameter
	Meter
	20.00
	247.15
	Rs.4943.00

	
	
	
	(Rupees Two Hundred Forty Seven and Fifteen Paise Only)
	

	
	
	
	
	
	

	96.
	Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all round S.W. pipes including bed concrete as per standard design.
	
	
	
	

	
	
	
	
	
	

	
	(a) 100 mm diameter S.W. pipe
	Meter
	5.00
	331.20
	Rs.1656.00

	
	
	
	(Rupees Three Hundred Thirty One and Twenty Paise Only)
	

	
	(b) 200 mm diameter S.W. pipe
	Meter
	20.00
	472.15
	Rs.9443.00

	
	
	
	
	
	

	97.
	Providing and fixing square-mouth S.W. gully trap grade 'A' complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design.
	
	
	
	

	
	(a) 150 x 100 mm size P-type
	
	
	
	

	
	(i) With F.P.S. bricks class designation
	Each
	4.00
	961.95
	Rs.3848.00

	
	
	
	(Rupees Nine Hundred Sixty One and Ninety Five Paise Only)
	

	
	
	
	
	
	

	98.
	Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc., complete.
	
	
	
	

	
	
	
	
	
	

	
	(a) 250 mm dia R.C.C. pipe
	Meter
	25.00
	258.20
	Rs.6455.00

	
	
	
	(Rupees Two Hundred Fifty Eight and Twenty Paise Only)
	

	
	
	
	
	
	

	99.
	Constructing brick masonry manhole in cement mortar 1:4 (1 cement : 4 coarse sand) R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement completes as per standard design.
	
	
	
	

	
	
	
	
	
	

	
	(a) Inside size 90 x 80 cm and 45 cm deep including C.I. cover with frame (light duty) 455 x 610 mm internal dimensions total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg).
	
	
	
	

	
	(i) With F.P.S. bricks with class designation 75
	Each
	3.00
	5383.70
	Rs.16151.00

	
	
	
	
	
	

	100.
	Extra for depth for manholes
	
	
	
	

	
	
	
	
	
	

	
	(a) Size 90 x 80 cm
	
	
	
	

	
	(i) With F.P.S. bricks class designation 75
	Meter
	1.00
	2654.00
	Rs.2654.00

	
	
	
	(Rupees Two Thousand Six Hundred Fifty Four and Nil Paise Only)
	

	
	
	
	
	
	

	101.
	Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement and making necessary channels for the drain etc. complete.
	
	
	
	

	
	
	
	
	
	

	
	(a) For pipes 100 to 230 mm dia 
	Each
	1.00
	164.30
	Rs.164.00

	
	
	
	(Rupees One Hundred Sixty Four and Thirty Paise Only)
	

	
	
	
	
	
	

	102.
	Constructing brick masonry road gully chamber 50 x 45 x 60 cm with bricks of class designation 75 in cement mortar 1:4 (1 cement : 4 coarse sand) including 500 x 450 mm precast R.C.C. horizontal grating with frame complete as per standard design.
	
	
	
	

	
	(a) With F.P.S. bricks
	Each
	3.00
	2248.35
	Rs.6745.00


etailed estimate amounting to Rs.1,40,54,035/- (Rupees One Crore Forty Lacs Fifty Four Thousand and Thirty Five Only) i/c 19% Cost Index and 3% Contingencies is hereby technically sanctioned.

A.E.(P)




E.E.(P)-I




S.E.(P)-I


 
       C.E./S.Z.

