DELHI DEVELOPMENT AUTHORITY
ELECTRICAL DIVISION NO. 8
SCHEDULE OF WORK
Name of work : M/o Complete Scheme of North Zone Under Nazul A/c-II
    (SH   : ARMO Clear Water Pump Set, Submersible Pump Sets, cascade fountains, Civic Chowk Lights at Distt. 

      Centre Netaji Subhash Place Pitampura). 

	S.NO.
	DESCRIPTION OF ITEM
	QTY.
	UNIT
	RATE
	AMOUNT

	1.
	Operation and maintenance of Pump Sets as per Inventory and terms and conditions attached. 
	1 job for 12 month
	1 job for per month 
	
	

	3.
	Supply and Replacement of the following items.
	
	
	
	

	
	a)
	250 watt  HPSV lamp.
	2 Nos.
	Each 
	
	

	
	b)
	150 watt HPSV lamp.
	3 Nos.
	Each
	
	


	
	c)
	150 watt M.H. Lamp
	2 Nos.
	Each 
	
	

	
	d)
	150 watt Reflector lamp
	5 Nos.
	Each
	
	

	
	e)
	250 watt copper Ballast suitable for SV/MH lamp
	2 Nos.
	Each
	
	

	
	f)
	150 watt copper Ballast suitable for SV / MH lamp
	2 Nos.
	Each
	
	

	
	g)
	Ignitor suitable for HPSV / MH lamp fittings 
	
	
	
	

	
	(i)
	150 watt 
	3 Nos.
	Each
	
	

	
	(ii)
	250 watt
	2 Nos.
	Each
	
	

	
	
	
	
	
	


ADDITIONAL CONDITIONS & SPECIFICATIONS
	1.
	The work comprises of running and operation of pump sets and general lighting as per the inventory attached.

	2.
	The contractor shall depute the following staff under the contract

	
	a.
	Operator – 2 Nos. , one in each shift i.e. from 6:00 AM  to 2:00PM and from 2:00 PM to 10:00PM

	
	b.
	Khallasi – 1 No. from 10:00 PM to 6:00AM.

	
	c.
	Wireman Grade-I shall attend the site of work between 9:00 AM  to 5:00 PM at least once in a fortnight and as and when required.

	3.
	The contractor shall employ trained and competent staff to the satisfaction of  Engineer-in-charge having two years experience on operation of pump Set.

	4.
	The contractor shall supply the list of staff along with experience certificates to be engaged on the installation within 7days of award of work. Engineer-in-charge shall have the right to reject any staff employed by the contractor.

	5.
	The staff employed by the contractor shall wear proper uniform and wear badges displaying their name and designation. The staff shall also be given photo identity cards by the contractor displaying their name, father’s name, address, date of birth, name of the agency with address and telephone No., site for which employed and period of validity. A copy of the identity cards shall be given to the Engineer-in-Charge within 15 days of award of work.

	6.
	The contractor shall employ staff through out the period of contract including Saturdays, Sundays, Gazetted  holidays and National holidays.

	7.
	Following records are to be kept at site of work.

	
	a.
	Printed log book for recording operation.

	
	b.
	Attendance register for staff deployed.

	
	c.
	Complaint / Inspection register & maintenance register. 

	
	Note :
	The contractor shall get the registers authenticated from                        Engineer-in-charge before use at site.

	8.
	The following minor maintenance including preventive maintenance shall be carried out by the contractor. The details of work carried out shall be  recorded in the log book:

	
	a.
	Servicing and greasing of pump/motors once in 3 months.

	
	b.
	Replacement of  rubber  packing of valves and worn out nuts and bolts etc.   

	
	c.
	Replacement of gland dori as and when required.

	
	d.
	Replacement of HRC fuses as and when required.

	
	e.
	Replacement of FI Tubes, incandescent lamps and starters

	
	f.
	Adjustment, alignment / tightening of nuts and bolts as and when required.

	
	g.
	Replacement of burnt out thimbles, wire terminals etc.

	
	h.
	Daily cleaning of equipments / pump house.

	9.
	The material required for carrying out above jobs shall be supplied by the contractor within quoted rates.

	10.
	Co-ordination and follow up action with electric supply agency shall be done by the contractor in case of failure / fault in supply / fluctuation in voltage. 

	11.
	The contractor shall intimate the Engineer-in-charge about the major breakdown or failure of electric supply in time.

	12.
	Watch and ward shall be the responsibility of the contractor.  Any loss due to theft or pilferage etc. shall be borne by the contractor.

	13.
	The payment to the contractor shall be made bi-monthly or at other suitable intervals desired by the contractor but not less than one calendar month.

	14.
	Proper handing / taking over of all E&M installations shall be carried out by JE(E) in charge of the work and the contractor in writing immediately after award of work / before start of work.

	15.
	The Engineer-in-charge, if so desire, may extend the contract upto 2 months or terminate the contract at any time after giving 15 days notice.

	16.
	If any staff employed by the contractor is found absent on a particular time and date, an amount proportionate to per shift shall be recovered from the contractor’s bill.

	17.
	All allied accessories / installations shall be kept in working order and in case any damages / loss is done to the pumping installations due to the negligence of the operational staff deployed by the contractor, the contractor shall have to make good the damages/ loss at his own cost. In case the contractor fails to rectify the damages / loss within reasonable time, the same shall be got rectified / replaced by the department at the risk and cost of the contractor.

	18.
	The contractor shall keep all the necessary spares and T&P at site required for operation and maintenance to be carried under his contract.

	19.
	In case of any disobedience or misbehaviour by the operational staff of the contractor, the Engineer-in-charge may ask, the contractor to dispense with the services of such staff with immediate effect.  The contractor shall provide suitable substitute simultaneously. 

	20.
	The rates quoted by the contractor shall be inclusive of all taxes, duties and Govt. levies etc.

	21.
	Pumping installation shall be painted (excluding control panel) once during the contract period.

	22.
	Any injury to the operational staff, in case of any mishap during duty hours will be the liability of contractor.

	23.
	Make of ballast and ignitor for fittings shall be one of the following make & suitable for existing fittings. 

	
	a)
	Philips 

	
	b)
	Bajaj

	
	c)
	Crompton Greaves

	24.
	The lamp to be used at site shall be Philips  / Osram make only.


INVENTORY 
	PART-A
	-
	Booster Pump Sets
	
	

	
	
	5 H.P. Mono Block Pump Set for (Clear Water)
5 H.P. Vaccum Pump Set for (Clear Water)

Control Panel Comprising for FSU DOL Starter

Ammeter, Voltmeter & MCB’s etc.

NRV                  SV
	-
-
	2 Nos.
1 No.

	PART-B
	-
	Fountains with fittings & nozzles etc.

Mono submersible Pump Set 10.00 HP with panel & accessories

Mono submersible Pump Set 3.00 HP with panel & accessories
	-

-
	4 Nos.

1 No.

	PART-C
	-
	Submersible Pump Set
Submersible Pump Set 3.0 H.P. with panel & accessories

1.00 H.P. monoblock
	-

-
	2 Nos.

1 No.




	PART-D
	-
	External lighting pump set
250 watt HPSV fitting

150 watt M.H. fitting

150 watt HPSV fitting
	-

-

-
	13 Nos.

3 Nos.

16 Nos.

	PART-E
	-
	Internal lighting
40watt fl. lamp fitting

Ceiling fan 1400mm sweep

Exhaust fan 18”
	-

-

-
	19 Nos.

3 Nos.

3 Nos.


