DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 8

SCHEDULE OF WORK 
	Name of work
	:
	M/o Completed Scheme under North Zone (Nazul A/c-I)

	SH
	:
	ARMO EI & Fans at DDA Officers Flats at B.D. Road – Addition / Alteration and Renovation of IEI & Electrical Fixtures in Flat No. 7/12


	S.NO.
	DESCRIPTION OF ITEM
	QTY.
	UNIT
	RATE
	AMOUNT (RS.)

	1.
	Supply and fixing of following piano type switches / sockets on existing switch. 

Boxes / over including connection etc. as required.
	
	
	
	

	
	a)
	5/6 Amp switch
	59 Nos.
	Each 
	
	

	
	b)
	3 pin 5/6 Amp socket outlet.
	15 Nos.
	Each
	
	

	
	c)
	15/16 Amp switch
	12 Nos.
	Each
	
	

	
	d)
	6 pin 15/16 Amp socket outlet. 
	12 Nos.
	Each
	
	

	2.
	Supplying & fixing phenolic laminated sheet 3mm thick on the existing switch box i/c cutting drilling holes etc. complete as required.
	13342 Sq.cm
	Sq. Cm
	
	


	3.
	Supplying and fixing electronic fan regulator on the existing switch box i/c cutting drilling connection testing etc. complete as required. 
	7 Nos.
	Each
	
	

	4.
	Wiring for light point / fan point / exhaust fan point / call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in the surface / recessed PVC conduit with piano type switch, phenolic laminated sheet suitable size M.S. BOX and earthing the point with 1.5 sq.mm FR PVC insulated, copper conductor, single core cable etc. as required.               (Group-B) 
	8 Nos.
	Each 


	
	

	5.
	Supply & fixing metal box of size 180mm x 100mm x 60mm deep (Nominal Size) on surface or in recess with suitable phenolic laminated sheet cover in front including painting etc. as required. 
	7 Nos.
	Each 
	
	

	6.
	Supplying & fixing of following sizes of PVC conduit along with accessories in surface / recess including cutting the wall and making good the same in case of recessed conduit as required. 
	38 Mtr.
	Each
	
	

	
	(a)
	25mm
	
	
	
	


	7.
	Supply & fixing call / buzzer suitable for DC / AC single phase 230 volt complete as required. 

	1 No.
	Each
	
	

	8.
	Supply & fixing following type decorative fitting with electronic ballast i/c 28 watt tube drilling holes connection testing etc. complete as required.
	
	
	
	

	
	(a)
	T-5 1x28 watt.
	10 Nos.
	Each
	
	

	
	(b)
	T-5 2x28 watt.
	2 Nos.
	Each
	
	

	9.
	Supply and replacement decorative wall bracket fitting complete with glass shade i/c 1 No. 11 wall CFL i/c connection testing etc. complete as required on wall.
	12 Nos.
	Each
	
	

	10.
	Supply & replacement decorative powder coated fitting with conical glass on the ceiling i/c 1 No. 11 watt CFL connection, testing etc. as required.
	8 Nos.
	Each 
	
	


	11.
	Supply and replacement decorative powder coated Mirror light on the existing wall i/c 1 No. 36 watt CFL connection etc. as required. 

	3 Nos.
	Each 
	
	

	12.
	Supply & fixing 1x9 watt CFL bulk head luminaries having anodized aluminium body powder coated heat resistant prismatic glass cover with gasket i/c 9 wall CFL 1 No. connection testing etc. complete as required. 

	2 Nos.
	Each 
	
	

	13.
	Wiring for circuit / sub main wiring along with earth wire with the following sizes of PVC insulated copper conductor single core cable in existing surface e/ recessed PVC conduit etc. as required.
	
	
	
	

	
	a)
	3x4 sq.mm
	90 Mt.
	Mtr.

	
	

	
	b)
	3x1.5 sq.mm
	40 Mt.
	Mtr.
	
	

	14.
	Supply & fixing of 300mm size ventilation fan made of steel in the existing opening i/c connection testing etc. as required.
	3 Nos.
	Each
	
	

	15.
	Supply and installation of 375mm size wall mounted fan an providing clamp on wall including connection etc complete as required. 
	2 Nos.
	Each

	
	

	16.
	Supply & fixing 20 Amp 240 volts SPN industrial type socket outlet with 2 pole and earth, metal enclosed plug top along with 20 Amp C-Series SPMCB in sheet steel enclosure on surface or in recess with chained metal cover for the socket outlet and complete with connection testing and commissioning etc. as required.
	5 Nos.
	Each 
	
	

	
	
	
	
	
	

	
	
	
	
	
	


