DELHI DEVELOPMENT AUTHORITY

BHALSWA GOLF COURSE

 NOTICE INVITING QUOTATIONS NO.   23/2009-10


Sealed quotations are hereby invited on behalf of Delhi Development Authority by the Secretary BGC, Bhalswa, Delhi for the work mentioned below. The quotations should reach in the Office of the undersigned on or before   11.12.09 up to 3.00 pm. and the same shall be opened on the same day at 3.30 pm. in the Office of the Secretary of the BGC in the presence of quotationers or their authorized representatives. The Schedule of quantity may be had from Bhalswa Golf Course on any working day. The rates should be quoted in prescribed Schedule of Quantity only.

N.O.W:- M/O Bhalswa Golf Course
S.H:- Stone pitching of water body in fairway no. 6

	Sr. No
	Description of items
	Qty. 
	Unit

	1.
	Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan i.e disposal of excavated earth up to 50 m & lift up to 1.5 m, disposed soil to be leveled & neatly dressed. All Kind of Soil
	349.00
	100sqm

	2. 
	Providing & laying in position cement concrete of specified grade excluding the cost of centering & shuttering. All work up to plinth level 

a) 1:2:4 (1cement :2 cement:4 graded stone agg. 20 mmn.s)
	7.00
	Cum

	3.
	Centering & shuttering i.c. strutting, propping etc. and removal of form work for. 

a) Foundation, Footing, Bases of Columns.
	16.00
	Sqm

	4.
	Random rubble masonary with hard stone in foundation & plinth i.c leveling up with cement martar 1:6:12 (1cement : 6 C. Sand:12 graded stone agg. 20mmn.s) at plinth level with cement martar 1:6(1 cement :6  C. Sand)
	27.00
	Cum

	5.
	Dry stone pitching 22.5 cm thick including supply of stones and preparing surface complete.
	327.00
	Sqm 


Terms & Conditions:-

2. The work shall be carried out as per CPWD Specification vol I to VI.
3. No T & P shall be issued.

4. No extra charge shall be paid except for the rates quoted.

5. Validity of quotation is 60 days from the date of opening.

6. Stipulated period for completion of work is 20 days.
7. Conditional quotations will not be entertained.

8. Payment shall be made through cheque only.

9. For any lapse on the part of the agency, the decision of the Director ( Sports) shall be final     and binding upon the quotationers 

10. Security deposit at the uniform rate of 10% shall be deducted from each running bill and will be refunded after completion of the specified period/ work.
11. Necessary statutory deductions will be made as applicable.

12. Work shall be completed to the satisfaction of JE (C) and Secy BGC.
Cont...............2

-2-

13. Debarred agency/ or individual shall not be permitted to participate in the tendering   process.

14. Any individual who has been debarred is not permitted to take part in any negotiations or 
represent an agency even if he holds a power of attorney on the agencies behalf. Any agency 
engaging debarred persons is also liable to debarring.
15.  That the quotationer / Contractor should be registered with the Department of Trade & 
Taxes, Govt. of NCTD and furnish a copy of VAT registration of the time of making the request 
for of Schedule of Qty. or attach  the same along with the quotation  as the case may be.









-Sd-
Lt.Col.R.D.Nautiyal (Retd)
Secretary/BGC/DDA
No. F3 (59) / BGC /DDA/2009/577



              Date- 02.12.09
Copy to:-

1. Directors (Sports) DDA for information please.

2. Director (System), DDA Vikas Sadan.

3. ddatender@dda.org.in CC directorsystem@dda.org.in 

4. Sr. A.O. (Sports) DDA

5. The Secretaries, all Sports Complexes with he request to display this N.I.Q. at the Notice board of their respective Complexes.

6. The Secretary DDA Contractors Welfare Association Vikas Kuteer, New Delhi.

7. The Secretary DDA Contractors Association E- 18 Vikas Kuteer, New Delhi.

8.  A.A.O BGC, DDA.

9. J.E(C) BGC/, DDA 

10. Notice Board BGC /DDA



               
-Sd-
Secretary BGC/ DDA

