DELHI DEVELOPMENT AUTHORITY 

SIRI FORT SPORTS COMPLEX

KHEL GAON MARG, NEW DELHI
No. SFSC /DDA/NIQ/2010-11/Elect../…..        

                

Date: - 06.12.2010

NOTICE INVITING QUOTATION NO. 75


Sealed item rate quotations are invited on behalf of DDA by the Secretary (SFSC) for the following works. The quotation should reach the office of Secretary (SFSC), DDA on or before 14.12.2010 upto 3:00 P.M. and will be opened on the same day at 3:30 P.M. in the presence of intending quotationers.

Name of Work: - Maintenance of Siri Fort Sports Complex

SH: - Supply & Laying of 4 X 35 Sqmm Al. Conductor, Armoured XLPE Power Cable from Electrical Substation to Basketball Panel at SFSC.

	SL. 
	Description of Item
	Qty.
	Unit

	1.
	Supply & laying of 4 X 35 sqmm Aluminium Conductor, Aluminium Armoured XLPE Power Cable 1.1 KV grade from Electrical Substation to Basketball panel including testing, connection etc. as complete.
	135 Mtr.
	Per Mtr.

	2.
	Supply & laying of 8 SWG GI Wire alongwith existing Alumnium Conductor cable for earthing etc. as required.
	135 Mtr.
	Per Mtr.


Terms & Conditions:
1. The work should be carried out as per specification and direction of in-charge.

2. Nothing extra shall be paid to the Agency against cartage.

3. The work should be completed within 10 days after issue of Work Order.

4. The payment will be made after entire satisfaction of Secretary (SFSC).

5. No T & P will be issued by the Department.

6. The cable shall be used skytone, CCI, Grandlay, Pelyeab make.

7. Any conditional quotations shall be summarily rejected.

8. Any quotation received through post / courier etc. shall be summarily rejected.

9. The contractor must have completed two works of similar nature in Gov. Department during last 2 years, attach proof with the quotation. 

10. The tenderer/quotationer should be registered with the Department of Trade & Taxes, Govt. of NCT of Delhi and supposed to furnish a copy of VAT registration at the time of making the request for issue of tender/NIQ or to attach the same alongwith the quotation as the case may be.  In case the quotationer/tenderer registered with the VAT Department, he may give an undertaking stating therein the registration No., date of registration, period for which the return has been filed, date of filing and the demand outstanding, if any, and liable to pay the same.  In case, the quotationer/tenderer is not registered with the VAT Deptt. then he will require to submit an undertaking.

11. Quoted rates should be inclusive of all taxes/levies including service tax payable under respective statutes. DDA will not entertain any claim, whatsoever, in this respect. 

Secretary (SFSC)

  Copy to:-

1. Director (Sports), DDA – for information please

2. Director (Systems), DDA – through e-mail for DDA Website.

3. A. O. (Sports), DDA 

4. The Secretary, DDA Contractor Welfare Association, Vikas Kuteer, New Delhi.

5. The Secretary, DDA Builders, E-18, Vikas Kuteer, New Delhi 

6. The General Secretary, Delhi Contractor’s Welfare Association (Regd.), 306, Masjid Moth,     N. D. S. E., Part – II, New Delhi – 110 049.

7. All Secretaries of DDA Sports Complexes

8. AAO (SFSC), DDA

9. J. E. (Elect.)/SFSC, DDA

10. Notice Board

Secretary (SFSC)

