DELHI DEVELOPMENT AUTHORITY

QUTAB GOLF COURSE

PRESS ENCLAVE ROAD, NEW DELHI – 110017

F3 (32)/QGC/DDA/Elect./2010-11/1649





                              Dated: 03/12/2010

NOTICE INVITING QUOTATION NO. 144 

 
The Delhi Development Authority invites sealed quotations from professional agencies having an experience of having executed atleast two similar types of works, mentioned herein below. The quotations should reach in the office of Secretary, Qutab Golf Course, DDA on or before 14.12.2010 upto 3.00 P.M. the sealed quotations shall be opened on the same day at 3.30 P.M. The quotationers or their representatives may be present at the time of opening of the sealed quotations.

Name of Work: - M/o Qutab Golf Course, DDA

SH: - Supply & Replacement Urban Architecture Post Top Lantern at Main Entry at QGC. 

	S. No.
	Description of Items
	Qty.

	1.
	Supply and replacement urban architecture indirect light integral post top lantern of white painted cast aluminium spigot lamp housing white painted spun aluminium reflector fixed on tripod directing the light downward suitable for 150 watt lamp ingress protections 54, connection, testing etc as reqd.
	2 Nos.

	2.
	Dismantling of existing 2 Nos. post top lantern from the existing 3 meter long G. I. Pole, disconnection of wiring, connection etc complete as reqd. 
	1 Job


Conditions:-

1. The work shall be carried out as per CPWD specification & satisfaction of Sports in-charge.

2. No T & P shall be issued by the department.
3. No minor shall be engage at site during excavation of work.

4. Nothing shall be paid extra on A/c of cartage.

5. Only those agencies are eligible that has done three similar type works in Govt. department/PSU. In this regard necessary documents shall be attached otherwise quotation may not be entertained.

6. Fitting shall be BRIL22150 MHDE BAJAJ/CROMPTON/VISTA make only.

7. The work shall be completed within 07 days after receiving the work order.

8. Payment will be made after entire satisfaction of Secretary, QGC/J. E. (Elect.), QGC.

9. Any conditional quotations shall be summarily rejected.

10. Necessary statutory deduction will be made as applicable.

11. The validity of the quotation is 60 days from the date of opening of the sealed quotations.

12. Debarred agency/or individual shall not be permitted to participate in the tendering process.

13. Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.

14. The agency should be registered with the sales Tax Deptt. /Service Tax Department. 

15. “Quoted Rates should be inclusive of all taxes/levies including service tax payable under respective statutes. DDA will not entertain any claim, whatsoever, in this respect”.

(Brig. Virendra Kumar)

Secretary, QGC

Copy to:-

1. Director, (Sports) for information please.

2. Director (System), DDA through email ddatender@dda.org.in
3. Sr. A. O. (Sports), DDA

4. Secretaries of all sports complexes – with request to place it on notice board.

5. Secretary/DDA contractor’s welfare association, E-18, Vikas Kutir, New Delhi – 02.

6. Secretary/DDA Builders Association, Vikas Kutir, New Delhi – 02.

7. Gen. Secretary, Delhi Contractor’s Welfare Association (Regd.), 306 Masjid Moth, N.D.S.E- Part – II, New Delhi - 49

8. AAO, QGC

9. J. E. (Elect.), QGC

10. Asstt. Cashier, QGC

11. Notice Board, QGC

Secretary, QGC
