DELHI DEVELOPMENT AUTHORITY

ROHINI SPORTS COMPLEX

NOTICE  INVITING QUOTATIONS NO.   58  /2010-11/RSC

The Secretary, Rohini Sports Complex, DDA invites sealed quotations for the work mentioned herein below. Only the agencies/firms/person having undertaken at least three similar works during the last five years in Government Department’s / Public Sector Undertakings with annual turnover of more than 10.00 lacs are entitled to apply. The quotations should reach the office of the Secretary of Rohini  Sports Complex, by 3.00 P.M. on 28.12.2010.  The sealed quotations shall be opened on the same day at 3.30 P. M. in the office of the Secretary of the Complex. The quotationers or their authorized representatives may be present at the time of the opening of the sealed quotations

Name of work : M/o Rohini Sports Complex 

SH  Supplying & laying of cable at RSC 

	Sr. No. 
	Description of  Items 
	Qty.
	Unit 

	1.
	Supply of Alumunium Conductor PVC  insulated sheathed  armensed  XLPE  power cable of 1.1 KV grade  of following size 

a) 4X 35 Sq. mm
	150 mt. 
	Mt. 

	2.
	Supply & laying of one no. double walled corrugated high  density  polythelene (HDPE) pipe having  corrugated on the outer surface  & plen surface on inner wall comprising  to IS  14930 part I & II) complete  with necessary HDPE fitting for protection of 1.11 KV  grade  cable  direct in ground  at a depth   of 50 cm i/c  excavation  and  refilling the trench  etc as  required. 

a) 90 mm  outer dia  nominal size  
	60 mt.
	Mt. 

	3.
	Laying  of one no. PVC  insulated  & PVC  sheathed  XLPE power cable of 1.1 KV  grade of size  exceeding  25 Sq. mm but not exceeding  120 Sq. mm direct in ground  including  excavation  sand  caushening , protective  covering  and refilling  the trench etc as required.
	90 mt. 
	Mt. 


CONDITIONS:-
1. The work shall be carried out as per specifications and to the entire satisfaction of the Secretary/JE (Elect.).

2.   No T & P shall be issued.

3. The payment shall be made on actual measurement.

4. No minor labour shall be employed at site.

5. The work shall be carried out within 20 days from the date of issue of work order.

6. Nothing extra shall be paid an account of cartage, cleaning, overtime etc.

7. The agency shall remove all surplus material/garbage etc. after completion of work.

8. Agency should be registered with Trade & Taxes GNCT of Delhi & Supposed to furnish a copy of TIN and clearance certificate on quarterly basis.

9. Debarred agency / individual will not be permitted in the tendering process.

10. Necessary / Statutory deductions will be made as applicable.

11. Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on  the agency’s behalf. Any agency engaging a debarred person is also liable for disqualification.

12. Any conditional quotations shall be summarily rejected.

13. The contractor should be professional & the experience of agencies should be taken into account rather than individuals incorporated with the agencies which does not include proprietorship.

14. Validity of Quotation is 60 days from the date of opening.
15. The rates quoted by the agency should be inclusive of all taxes.
16. The agency shall give guarantee for six months for work done.
17. Agency should  have experience in similar job.

18. Only  agencies / firms / persons having undertaken three  similar  works during  the last three years  in Government  department’s  / public sector undertakings with 
annual turnover more than Rs. 10.00 lacs are entitled to apply. A proof in this 
regard is necessary to be enclosed with quotation otherwise the quotation shall not be entertained. 

19. If there are two or more agencies quoting the same rate preference would be given to the agency which is already working the satisfactory performance. If even then there is a tie between two or more such agencies than the work would be awarded to the agency which has the highest gross annual turnover  of the last three consecutive financial years 

20. The cable shall be of Neco/ Eco / Skytone/ Grandlay  
21. DWC pipe shall be of Rex or equivalent make. 
                                                                             
         
 Lt. Col. (Retd.) V.S. Negi

                                                                                

          Secretary / RSC 

No.F4(117)Elect/RSC/DDA/2010-11/ 757                                                                                        Dt. 15.12.2010  


 
Copy to:-

1. Director (Sports)/DDA - for information please. 

2. Sr. A. O. (Sports)/DDA. 

3. Dy. Dir (System) for necessary action please.

4. All Secretaries of the DDA Sports Complexes and The Secretary (Coordn.).

5. The Secretary, DDA Contractors Welfare Association, Barrack No.1, Block – A, Vikas Kutir, New Delhi. 

6. The Secretary, DDA Contractors Welfare Association, E-18, Vikas Kutir, New Delhi. 

7. AAO/RSC./DDA.

8. Manager/ RSC.

9. Cashier / RSC.

10. JE (Civil) / JE (Elect.) / S.O. (Hort.)

11. Guard file.

12. Notice Board, RSC/DDA. 

13. Computer Operator for putting on DDA website.

                                                                                              

Secretary / RSC
