DELHI DEVELOPMENT AUTHORITY

DWARKA SPORTS COMPLEX

SECTOR-11, DWARKA, NEW DELHI-75
NOTICE INVITING QUOTATION NO.  50 /DSC/DDA/2010-11
Sealed quotations are hereby invited by the Secretary/DSC, Dwarka, Delhi-75 on behalf of Delhi Development Authority (Sports Wing) for the following works from the eligible contractor / agencies. The quotation should reach in the office of the undersigned on or before 16/12/2010 upto 3.00PM and the same shall be opened on the same date at 3.30PM in the office of the Secretary/DSC of the complex in the presence of the quotationer or there authorized representatives. 

Name of Work: - M/o. Dwarka Sports Complex, DDA.

SH: - Supplying Lowering of Submersible P/sets 5 HP KSB make.
	S. No.
	Description


	Qty.
	Unit

	1. 
	Supplying of Submersible P/sets dully coupled with suitable rating of 3 phase 440 Volts 50 HZ submersible motor. The P/sets shall be suitable for the following duties

            Discharge    =     14 m3  1 hrs 233 (PM)
             Head           =     55 mt
             RPM           =     2900
	1

	Job

	2.
	Supplying & Installations of L.T. control panel suitable for operating 5 HP submersible p/set having the following accessories :-
(i) Volt meter   0.440

(ii) Amp meter 0.30
(iii) Single phase preventor
(iv) Over load relay
 Contractor block with suitable relay DOL starter 3 phase 3 position CPP 22 NAR Resetting switch. 
	1
	Each

	3.
	Lowering testing commissioning of submersible P/sets along with flamged type G.I pipe and submersible cable up to the reqd. length / depth i/c jointing of Sub Cable etc. as reqd.
	1
	Job

	4.
	S/F of 50 mm G.I pipe ‘B’ class dully welder on both ends i/c nuts, bolts, rubber packing etc. complete as reqd.
	30
	mt

	5.
	S/F of 1 X 3 X 2.5 sq mm Submersible Cable including connections, testing etc. Complete  as reqd. 
	100 
	mt


TERMS & CONDITIONS:-

1. The work shall be carried out as per specification of work order / satisfaction of Secretary/DSC & JE(E).

2. All material used at Site shall be got approved before execute the work at site from Secretary/DSC & JE (E).

3. Quoted rate should be inclusive of all taxes / levies including service tax, payable under respective statutes, DDA is not entertained any claim, whatsoever in this regard.

4. The payment will be made after entire satisfaction of JE(E)/Secretary/DSC, DDA.

5. No T & P will be issued by Department.

6. The Agency should be registered with the Sales Tax Department, GNCT of Delhi & supposed to furnish a copy of Sales Tax Registration & Sales Tax Clearance Certificate and attach the same along with the quotation otherwise the quotation may not be considered and liable to be rejected.

7. No advance payment will be made to the agency.

8. Director (Sports) reserves the right to accept or reject any bid / quotation without assigning any season.

9. Conditional quotation will not be accepted.

10. Necessary statutory deductions as applicable will be made.

11. Debarred agency / or individual shall not be permitted to participate in the tendering process.

12. Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.

13. The experience of agencies should be taken into account rather than individuals  incorporated with the agency, this does not include proprietorship.


14. Time allowed is 15 days for the completion of work.

15. A Security deposit at a flat rate of 10% shall be deducted from each running Bill 
and such deposit would be refunded after completion of the specified period. All 
payments shall be made after effecting statutory deductions.

16. The agency shall submit a guarantee letter for a period of 1 year.

17. The material shall be of the following makes



P/set   
  -    
KSB



G.I.
  -
Jindal B (Medium)
Secretary

Dwarka Sports Complex, DDA    

No.F10 (597) DSC/DDA/Elect/10-11/4862



Dt. 7/12/2010
Copy to :-
1. Director (Sports)/DDA.

2. Director (System)/DDA through E.Mail.

3. A. O. (Sports), DDA.

4. All Secretaries of the DDA Sports Complexes i/c Secretary (Coordn.).

5. The Secretary, DDA Contractor’s Welfare Association, Vikas Kutir, New Delhi.

6. The Secretary, DDA Contractor’s Welfare Association, F-18, Vikas Kutir, New Delhi.

7. AAO/DSC/DDA.

8. Manager/DSC/DDA.

9. JE(E)/DSC/DDA

10. Notice Board.
11. Computer Operator for putting on DDA website.
Secretary

Dwarka Sports Complex, DDA  
