DELHI DEVELOPMENT AUTHORITY

YAMUNA SPORTS COMPLEX
Suraj Mal Vihar, Delhi-110092
NOTICE INVITING QUOTATION NO. 41/Secy/YSC/DDA/2010-11
The Delhi Development Authority invites sealed quotations from Professional Agencies having an experience of having executed atleast two similar types of work mentioned herein below. The quotations should reach the office of the Secretary of Yamuna Sports Complex by 3.00 PM on 20.12.2010. The sealed quotations shall be opened on the same day at 3.30 PM in the office of the Secretary of the complex. The quotationers or their authorized representatives may be present at the time of the opening of the sealed quotations.

Name of Work: Upgradation of Yamuna Sports Complex
SH: Supply and fixing of Mirror optic surface light fittings, SDB’s and Al. Conductor Armoured Power cable into the Squash Courts at YSC, DDA..
	S.No.
	Description of Work
	Qty.
	Unit
	Rate
	Amount

	1. 
	Supply & fixing surface mounting mirror optic light fitting (CAT-2) with 2 nos. 36 watt. FL Tube Light, having high technology extrusion formed to providing, pleasing and unique finish into Squash Courts at YSC/DDA (TPS 498.2 X TLD 36W)
	32 Nos.
	Each
	
	

	2. 
	Supply and fixing of 4X16 sq. mm Al. Conductor, Armoured XLPE Power Cable on the surface/recess1.1 kv grades etc. as complete as required.
	345 mtrs.
	P.mtr.
	
	

	3. 
	Rewiring for light point/fan point/exhaust point with 1.5 sqmm FR PVC insulated Copper Conductor single Core Cable and 1.5 sqmm FR PVC insulated cable for loop earthing in existing surface/Recess steel/PVC conduit i.c. dismantling as required (Group-c) 
	38 Nos.
	Each
	
	

	4. 
	Supply and fixing of 4+12 way TP & N distribution board prewired 415 volt on surface/recess complete with loose wire box, terminal block, tinned Copper busbar, neutral link, earth bar, detachable gland plate powder coated i.e. earthing etc as required (but without MCB / isolator).
	02 Nos.
	Each
	
	

	5. 
	Supply and fixing of following type MCB into the existing distribution board including connection testing etc as complete as required

(a) SPMCB 6-32 amp.
	24 Nos.
	Each
	
	

	
	(b) 4 pole MCB 63 amp.
	02 Nos.
	Each
	
	

	6. 
	Supply and fixing of 8 SWG GI wire for loop earthing with existing Al. Conductor Cable etc as required
	345 mtrs.
	P.Mtr
	
	

	7. 
	Servicing and repairing of 300mm exhaust fan i/c rewinding of motor, replacement of bearing, condenser and painting etc. as complete.
	04 Nos.
	Each
	
	

	8. 
	Supply and fixing of 1400 mm sweep ceiling fan with 2mtrs. Long GI fan rod i/c connection testing etc. as required.
	03 Nos.
	Each
	
	


 Terms and Conditions:-

1. The work shall be carried out as per the specification.

2. Nothing extra shall be paid to the agency.

3. No T & P shall be issued to the Agency.
4. Light fittings shall be used Philips make only.

5. Ceiling Fan shall be used Crompton, Havells and Khaitan make.

6. MCB and MCB DB shall be used Havells, L&T or Indo Asian Make.

7. The Cable shall be used Grandlay, Skyton, CC! or Kalings make only.
8. The work shall be completed within 15 days from the date of issue of the work order.
9. 10% Security shall be deducted from the bill.

10. The agency shall have minimum 10 lac turnover for the last 3 years. 
11. The payment will be made after entire satisfaction of Secretary/YSC.

12. Conditional quotation will not be accepted.

13. Undersigned reserves the right to accept or reject any quotation without assigning any reason.

14. No minor should be engaged at site.

15. Quoted rates shall be inclusive of all taxes.

Col. (Retd.) S.P. Thapliyal

Secy./YSC/DDA

No. F4(14)/Elect./YSC/DDA/2010-11/436

Date:  09.12.10
Copy to:
1. Director (Sports), DDA.

2. Director(System) through ddatender@dda.org.in 

3. Sr. A.O. (Sports), DDA.

4. Secretary All Sports Complexes, D.D.A with request to put up on Notice board.

5. Secretary, DDA Contractor's Welfare Association, Vikas Kuteer, New Delhi.
6. Secretary, DDA, Contractor’s Association, Vikas Kuteer. New Delhi.
7. AAO (YSC)/DDA 

8. JE(E)/ YSC/DDA

9. Cashier/YSC/DDA

10. Notice Board

11. Office Copy

       Secretary/YSC/DDA
