DELHI DEVELOPMENT AUTHORITY

HARI NAGAR SPORTS COMPLEX

No.F.7 (197)/10/HNSC/DDA/






Dt.: 
NOTICE RE-INVITING QUOTATION​ No. 36  /2010-11

Sealed item rate quotations are hereby reinvited on behalf of DDA by the Secretary, HNSC. The quotation should reach in the office of the undersigned on or before 04.01.11 up to 3.00 p.m. and the same shall be opened on the same day at 3.30 p.m. in the presence of the intending quotationers & their representatives. 

Name of work: - Up-gradation of Hari Nagar Sports Complex, DDA

SH: - Supply and Installation of Split Air-conditioner and voltage stabilizer in 

Billiards room at HNSC/ DDA 
	S.No.
	Description of items
	Qty.
	Unit.

	1.
	Supply and Installation of Following rating split  Air-Conditioner suitable for operation on 230 volt 50 Hg single phase A.C supply Capable of performing cooling, Dehumidification, Air circulation, Filting and Ventilation along with cardles remote, outdoor unit floor/ wall mounting stand, drainage piping, installation charge etc as complete as required.

(a) 2.0 T R Split Air Conditioner

(b) 1.5 T R Split Air Conditioner
	3 Nos.

1 Nos.
	Each

Each.

	2.
	Supply and fixing of extra copper piping, alongwith insulation and copper wiring for outdoor unit etc as complete as required.
	12mtr.
	P. Meter.

	3.
	Supply and Installation of 5 K.V.A Voltage stabilizer suitable for 230 volts 50 Hg single phase supply wall mounted i/c connection, Testing etc as completed. 
	4 Nos.
	Each


Terms & Condition: -

1. The work shall be carried out as per specification.

2. Nothing extra shall be paid to the agency. 

3. No T & P shall be issued to agency.

4. The work shall be completed within 10 days after issue of work order.

5. The Split Air-Conditioner shall be installed, Voltas, Blue star or L.G Make and having 2 star rating.

6. The Voltage Stabilizer shall be installed Blue bird, Logic stat or Servo con make.

7. The payment shall be made after entire satisfaction of Secy./JE (E) HNSC,DDA

8. The Agency should have completed two similar nature works Proof may be attached alongwith quotation otherwise quotation may be rejected.

9. Only those agencies having a minimum annual turnover of Rs. 10.00 lacs in each of last two years duly certified by the Charted Accountant are entitled to submit the quotation. The quotation not submitted in accordance with the prescribed manner will not be accounted for at all.
10. Conditional quotation will not be entertained. 
Secretary (HNSC)
Copy To:- 

1. Director (Sports) on DDA website :- ddatender@dda.org.in 
2. Sr. A.O. (Sports).

3. Secretary all Sports Complexes.

4. A.A.O (HNSC)
5. Manager (HNSC)
6. DDA Contractor Association, Vikas Kutir Room no.12, Block no 1, New Delhi.

7. The Secy. DDA Builders Association F-18, Vikas Minar, ITO, New Delhi.

8. DDA Contractor Association, E-18, Vikas Kutir, ITO, New Delhi.

9. Notice Board.

10. Guard file.  

Secretary (HNSC)

