DELHI DEVELOPMENT AUTHOTRITY

ELECTRICAL DIVISION NO -8
SCHEDULE OF WORK

Name of work:- M/O Office building vikas minar

SH:-ARMO EI & fans- Supply &  laying armoured cable & 15Amp switch / socket in Traffic Control Room 21st floor vikas minar
	S. No.
	Description of item
	Qty.
	Unit
	Rate
	Amt.

( in rupees)

	1.
	Supply and fixing of following piano type switch /socket on the existing switch Boxes / cover including connection etc. as required.

a) 15/16 Amp switch

b) 6 pin 15/16 Amp socket outlet. 
	8nos.

8nos.
	Each
Each


	
	

	2.
	Supply & fixing metal box of size 180mmx100mmx60mm deep (Nominal Size) on surface or in recess with suitable phenolic laminated sheet cover in front including painting etc, as reqd. 
	8nos.
	Each


	
	

	3.
	Supplying & fixing 100Amp DP Isolator 240volt 50H/Z conforming to IS 13947 3 & IE C 60 947-3:2001 along with steel encloser connection testing & commissioning etc as required.
	2nos.
	Each


	
	

	4.
	Supplying & Laying  2X35Sq mm aluminum conductor armoured  XLPE Power cable 1.1kv grade connection  testing etc complete as regd.
	125mtr.
	Mtr

	
	

	5.
	Supply & drawing following sizes of FR PVC insulated copper conductor single core cable in existing surface/  recess  steel / PVC conduit etc. as required:

a) 3X4     Sq. mm.

b) 2x1.5   Sq.  mm.
	45mtr.
52mtr.
	Mtr

Mtr


	
	

	6.
	Supply installation of single phase & neutral aluminum bus bar 100Amp capacity including  tapping the strip connection inter connection & testing etc compete as regd.
	1nos.
(with box)
	Each


	
	

	
	
	
	
	
	


Additional Condition and Specifications

1. The work shall be carried out as per CPWD specification Part-I -2005 (Internal) and part II- 1994 (External) and to the satisfaction of Engineer in charge. 

2. No T& P shall be issued to the Contractor by the department.

3. The Contractor must get acquainted with the proposed site for the work and study specification and condition carefully before tendering. 

4. Nothing extra shall be paid to the Contractor on a/c of cartage by the department. 

5. The rate quoted by the agency shall be inclusive of all Govt. taxes and levies and nothing shall paid extra on this account. 

6. Any damage caused to the existing installation /building during the execution of work shall be made good by the Contractor.

7. After award the work Contractor shall produce sample of all the materials to be used in the work to Engineer in-charge for approval. Only approved material shall be used in the work. 

8. Minimum 25 cm length of phase, neutral and earth wire of circuit wiring on each end shall be extended for future maintenance and proper connection in distribution board/ main switch board. 

9. G.I boxes shall be provided.

10. Time allowed for carried out the work only 5days.

11.  Only material bearing ISI /BIS certifications marks shall be used in the work where  article of the  different designs /makes bearing ISI/BIS certifications  mark are available, the decision of Engineer-in-charge about designs / make to be used in the work shall be final binding to the contractor.

12.  Where material bearing ISI/BIS certifications marks are not available, material confirming to relevant BIS/ISI  shall be used with prior approval of Engineer-in-charge.

13.  In case of any discrepancy in the description  of any item given in the schedules of quantities and the specifications, the former shall be prevail if the  specifications of any item are not available the decision of Engineer-in-charge shall be final.

14.  Six pins socket out let shall be provided for power plug points.

15.  Any ordinary or special accessories i.e. metal boxes etc. if required for the purpose of branching of conduits shall be form part of sub-main/circuit/point wiring.
16. PVC insulated PVC sheathed XLPE armored power cable shall be of Asian / Unistar / Ecko / Sky Tone / Havell’s make with ISI mark.
17. Piano type switch / Socket shall be of Anchor /CPL / Precison / cona make and shall be in white colour.

18. MCB’s shall be of standard /L&T / MDS / Indocopp/ action with ISI mark.

19. PVC insulated copper conductor wire (F R) shall be of sky tone / National / Ecko / Havell’s make with ISI make.
