DELHI DEVELOPMENT AUTHORITY

DWARKA SPORTS COMPLEX

SECTOR-11, DWARKA, NEW DELHI-75

SHORT NIQ NO.   51/DSC/DDA/2010-11                                                                                                                                                           

Sealed quotations are hereby invited by the Secretary/DSC, Dwarka, Delhi-75 on behalf of Delhi Development Authority (Sports Wing) for the following works from the eligible contractor / agencies. The quotation should reach in the office of the undersigned on or before 13/12/2010 upto 3.00 P.M and the same shall be opened on the same date at 3.30 P.M in the office of the Secretary/DSC of the complex in the presence of the quotationer or there authorized representatives. 

Name of Work : -  Upgradation /Renovation of existing facility at DSC.
                    SH : -  P/F M.S. Support to the fencing of Mini Football court & M.S Gate at Sector-8 Dwarka under DSC
	S No.
	Descriptions of items
	Qty
	Unit

	1.
	Earth work in excavation by mechanical means (Hydraulic excavator) / Manual means in foundation    trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift up to 1.5 m, including getting out the excavated soil and disposal of  surplus excavated soil as directed, within a lead of 50 m) all kinds of soil.
	12.96 
	Cu.m

	2.
	Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering.  All work up to plinth level

a) 1:2:4 (1 cement: 2 course sand : 4 graded stone   aggregate 20 mm nominal size)
	12.96
	Cu.m

	3.
	12mm cement plaster of mix:
a)  1:4 (1 cement: 4 fine sand)
	17.28
	
Sq.m

	4.
	Steel work welded in built up sections/ framed work including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc as required.
a)  In gratings, frames, guard bar, ladder, railings,   brackets, gates and similar works.
	952.56
	Kg

	5.
	Painting with synthetic enamel paint of approved brand and manufacture to give an even shade: 
a)  Two or more coats on new work.
	42.00
	Sq.m


TERMS & CONDITIONS:-

1. The work shall be carried out as per specification of work order / satisfaction of Secretary/DSC & JE(C).

2. All material used at Site shall be got approved before execute the work at site from Secretary/DSC & JE (C).


3. Quoted rate should be inclusive of all taxes / levies including service tax, payable under respective statutes, DDA is not entertained any claim, whatsoever in this regard.

4. The payment will be made after entire satisfaction of JE(C) / Secretary/DSC, DDA . No T & P will be issued by Department.

5. The Agency should be registered with the Sales Tax Department, GNCT of Delhi & supposed to furnish a copy of Sales Tax Registration & Sales Tax Clearance Certificate and attach the same along with the quotation otherwise the quotation may not be considered and liable to be rejected.

6. No advance payment will be made to the agency.

7. Director (Sports) reserves the right to accept or reject any bid / quotation without assigning any season.

8. Conditional quotation will not be accepted.

9. Necessary statutory deductions as applicable will be made.

10. Debarred agency / or individual shall not be permitted to participate in the tendering process.

11. Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.

12. The experience of agencies should be taken into account rather than individuals 
incorporated with the agency, which does not include proprietorship.

13. Time allowed is 20 days for the completion of work.     
14. The arrangement of electricity & water for use of construction of work will be the 
   
responsibility of the contractor.    

     
       Secretary

  Dwarka Sports Complex, DDA    

No.F10 (594) DSC/DDA/civil/09-10/4866



Dated :-10/12/2010
Copy to:-

1. Director (Sports)/DDA.

2. Director (System)/DDA through E.Mail.

3. A. O. (Sports), DDA.

4. All Secretaries of the DDA Sports Complexes i/c Secretary (Coordn.).

5. The Secretary, DDA Contractor’s Welfare Association, Vikas Kutir, New Delhi.

6. The Secretary, DDA Builders Association, E-18, Vikas Kutir, New Delhi.

7. AAO/DSC/DDA.

8. JE(C)/DSC/DDA

9. Notice Board.

10. Computer Operator for putting on DDA website.

          Secretary

          Dwarka Sports Complex, DDA

