DELHI DEVELOPMENT AUTHORITY 
ELECTRICAL DIVISION NO.8

SCHEDULE OF WORK
	Name of work
	:
	M/o Completed Scheme Under Nazul Account-II of North Zone.

	
	
	(SH : A.R.M.O. of Musical Fountain at Saraswati Vihar)


	S.NO. 
	DESCRIPTION OF ITEM
	QTY.
	UNIT
	RATE
	AMOUNT

	1.
	Operation and Maintenance of Musical Fountain as per inventory and terms & conditions attached. 


	1 Job for 

12 month
	P.Month
	
	

	2.
	Supply and replacement of the following items in the existing fittings, gear box etc. as required.
 
	
	
	
	

	
	(a)
	150 watt Reflector type lamp
	8 Nos.


	Each
	
	

	
	(b)
	250 watt HPSV lamp
	2 Nos.
	Each
	
	

	
	c)
	250 watt copper ballast suitable for 250 watt HPSV lamp
	2 Nos.
	Each


	
	

	
	d)
	Ignitor suitable for HPSV 250 watt fittings
	3 Nos. 
	Each
	
	

	
	
	
	
	
	
	


ADDITIONAL CONDITIONS AND SPECIFICATIONS
	1.
	The work comprises of running and operation of pump sets and general lighting as per the inventory attached. 

	2.
	The contractor shall depute the following staff under the contract. 

	
	(a)
	Operator – 1 No.       -2PM to 10 PM.

	
	(b)
	Khallasi   – 2 Nos. 1 in each shift i.e. from 6 AM to 2 PM and 10 PM to      6 AM

	
	(c)
	Wireman Grade – I shall attend the site of work between 9.00 AM to    5.00 PM at least once in a fortnight and as and when required.

	3.
	The contractor shall employ trained and competent staff to the satisfaction of Engineer-in-charge having two years experience on operation of pump set. 

	4.
	The contractor shall supply the list of staff along with experience certificates to be engaged on the installation within 7 days of award of work. Engineer-in-charge shall have the right to reject any staff employed by the contractor. 

	5.
	The staff employed by the contractor shall wear proper uniform and wear badges displaying their name and designation. The staff shall also be given photo identity cards by the contractor displaying their name, father’s name, address, date of birth, name of the agency with address and telephone no. site for which employed and period of validity. A copy of the identity cards shall be given to the Engineer-in-charge within 15 days of award of work. 

	6.
	The contractor shall employ staff throughout the period of contract including Saturday, Sundays, Gazetted holidays and National holidays. 

	7.
	Following records are to be kept at site of work. 

	
	(a)
	Printed log book for recording operation.

	
	(b)
	Attendance register for staff deployed. 

	
	(c)
	Complaint/inspection register & Maintenance register. 

	
	Note:     The contractor shall get the registers authenticated from Engineer-in-        charge before use at site. 

	8.
	The following minor maintenance including preventive maintenance shall be carried out by the contractor. The details of work carried out shall be recorded in the log book. 

	
	(a)
	Servicing and greasing of pumps/motors once in 3 months. 

	
	(b)
	Replacement of rubber packing of valves and worn out nuts and bolts etc.

	
	(c)
	Replacement of gland dori as and when required. 

	
	(d)
	Replacement of HRC fuses as and when required. 

	
	(e)
	Replacement of FI Tubes, incandescent lamps and starters. 

	
	(f)
	Adjustment, alignment/tightening of nuts and bolts as and when required. 

	
	(g)
	Replacement of burnt out thimbles, wire terminals etc. 

	
	(h)
	Daily cleaning of equipment/pumps house

	9.
	The material required for carrying out above jobs shall be supplied by the contractor within quoted rates. 

	10.
	Co- Ordination and follow up action with electric supply agency shall be done by the contractor in case of failure / fault in supply / fluctuation in voltage. 

	11.
	The contractor shall intimate the Engineer-in-charge about the major breakdown or failure of pilferage etc. shall be borne by the contractor. 

	12.
	Watch and ward shall be the responsibility of the contractor. Any loss due to theft or pilferage etc. shall be the borne by the contractor.

	13.
	The payment to the contractor shall be made bi-monthly or at other suitable intervals desired by the contractor but not less than one calendar month. 

	14.
	Proper handing/taking over of all the E & M installation shall be carried out by JE(E) in charge of the work and the contractor in writing immediately after ward of work / before start of work. 

	15.
	The Engineer-in-charge, if so desire, may extend the contract upto 2 months or terminated the contract at any time after giving 15 days notice. 

	16.
	If any staff employed by the contractor is found absent on a particular time and date, an amount proportionate to per shift shall be recovered from the contractror’s bill. 

	17.
	All allied accessories / installation shall be kept in working order and in case any damages / loss is done to the pumping installations due to the negligence of the operational staff deployed by the contractor, the contractor shall have to make good the damages / loss at his own cost. In case the contractor fails to rectify the damages / loss within reasonable time, the same shall be got rectified / replaced by the department at the risk and cost of the contractor. 


	18.
	The contractor shall keep all the necessary spares and T & P at site required for operation and maintenance to be carried under his contract. 

	19.
	In case of any disobedience or misbehavior by the operational staff of the contractor, the Engineer-in-charge may ask the contractor, to dispense with the services of such staff with immediate effect. The contractor shall provide suitable substitute simultaneously. 

	20.
	The rates quoted by the contractor shall be inclusive of all taxes, duties and Govt. levies etc. 

	21.
	Pumping installation shall be painted (excluding control panel) once during the contract period. 

	22.
	Any injury to the operational staff, in case of any mishap during duty hours will be the liability of contractor. 

	23.
	Make of ballast and ignitor for fittings shall be one of the following make & suitable for existing fittings. 

	
	(a)
	Philips

	
	(b)
	Bajaj

	
	(c)
	Crompton Greaves

	24.
	The lamp to be used at site shall be Philips / osram make only. 

	25.
	Fountain will be closed twice in a month for cleaning.  


INVENTORY
Musical Fountain Comprising of Following Accessories
	1.
	15 H.P. Submersible Pump Set
	–
	1 Nos. 

	2.
	Water light fittings
	–
	30 Nos. 

	3.
	Electrical Panel with all accessories
	–
	1 Nos. 

	4.
	Master Control Console
	–
	1 Nos. 

	5.
	Ampilifier, Speaker & Nozzles
	–
	1 Nos. 

	6.
	250 Watt HPSV fitting mounted on G.I. Pole
	–
	8 Nos. 

	7.
	20 KVA valtage stabilizer 
	–
	1 Nos. 

	8.
	Ceiling Fan
	–
	2 Nos. 

	9.
	1x40 watt fl. Tube light fitting 
	–
	6 Nos. 

	10.
	Exhaust fan
	–
	1 Nos. 


